## 1 - 1.5 ton
1 to 1.5 Tons (New Modular)
Model# | Description | Box Qty | List Price | Order Qty | Extended List Price | Your Cost (each) | Total Extended Cost
| Insert your multiplier in yellow box |  |  |  | 0
Modular Air Handler Unit (Horizontal Applications)
M1218BL2-ST2 | Module, Blower, Standard Control, Single Speed, 208/230V only | 1 ea. | 1435 |  | 0 | 0 | 0
M1218BL1-EC2 | Module, Blower, SCB, Variable Speed ECM, 120V/208/230V | 1 ea. | 2328 |  | 0 | 0 | 0
M1218CL2-E | Module, Refrigerant Coil (6 Row)*(HP) | 1 ea. | 1681 |  | 0 | 0 | 0
Hot Water and Chilled Water Coils and Modules
HW-1218 | Hot Water Coil Only | 1 ea. | 503 |  | 0 | 0 | 0
M1218CL1-C | Module, Chilled Water Coil | 1 ea. | 1168 |  | 0 | 0 | 0
M1218CL1-X | Module, Heating (without Hot Water Coil) | 1 ea. | 437 |  | 0 | 0 | 0
M1218CL1-H | Module, Heating (with Hot Water Coil) | 1 ea. | 850 |  | 0 | 0 | 0
Electric Furnaces
WON0202-C | Furnace, Electric, 2 kW, 1P/240V (matches all models)** | 1 ea. | 904 |  | 0 | 0 | 0
WON0502-C | Furnace, Electric, 5 kW, 1P/240V (matches all models)** | 1 ea. | 948 |  | 0 | 0 | 0
WON0752-C | Furnace, Electric, 7.5 kW, 1P/240V (matches all models)** | 1 ea. | 1074 |  | 0 | 0 | 0
Indoor Air Quality
UVC1-09 | Module Assy, UV Light - Cabinet Only | 1 ea. | 552 |  | 0 | 0 | 0
UVL1-09 | Module Assy, UV Light | 1 ea. | 1350 |  | 0 | 0 | 0
A02654-010 | Pleated Filter, 20x14x1, MERV 13 | 1 ea. | 15 |  | 0 | 0 | 0
Supply Plenum Accessories
UPC-61-1218 | Adapter, Supply, Round, 7" | 1 ea. | 95 |  | 0 | 0 | 0
UPC-62-1218 | Adapter, Supply, Square, 8.5" ID | 1 ea. | 71 |  | 0 | 0 | 0
Drain Pans
UPC-94 | Secondary Drain Pan for 1218 | 1 ea. | 474 |  | 0 | 0 | 0
UPC-98 | Mounting Rails for 1218 | 1 ea. | 142 |  | 0 | 0 | 0
Return Air Parts
UPC-01-1218 | Return Air Box with Grille and 14"x20" Filter | 1 ea. | 268 |  | 0 | 0 | 0
UPC-04-1218 | Return Air Duct , 12" D x 10 ft. | 1 ea. | 353 |  | 0 | 0 | 0
UPC-104-1218 | Return Air Adaptor, for 12" duct | 1 ea. | 244 |  | 0 | 0 | 0
Install Kits for metal duct
UPC-89TM-1 | Install Kit, 2", Round Metal Plenum, TFS, (1 pk) - Includes (1) Supply Outlets, (1) Take Off for round metal plenum, (1) Winter Supply Shutoff Caps, (2) Toggles and Screws, (2) extra TFS Gaskets | 1 ea. | 40 |  | 0 | 0 | 0
UPC-89TM-6 | Install Kit, 2", Round Metal Plenum, TFS, (6 pk) - Includes (6) Supply Outlets, (6) Take offs for round metal plenum, (6) Winter Supply Shutoff Caps, (12) Toggles and Screws, (2) extra TFS Gaskets | 6 ea. | 99 |  | 0 | 0 | 0
UPC-89TMR6-1 | Install Kit, 2", R6, Round Metal Plenum, TFS, (1 pk) - Includes (1) Supply Outlets, (1) Take Off for round metal plenum, (1) Winter Supply Shutoff Caps, (2) Toggles and Screws, (2) extra TFS Gaskets | 1 ea. | 53 |  | 0 | 0 | 0
UPC-89TMR6-6 | Install Kit, 2", R6, Round Metal Plenum, TFS, (6 pk) - Includes (6) Supply Outlets, (6) Take offs for round metal plenum, (6) Winter Supply Shutoff Caps, (12) Toggles and Screws, (2) extra TFS Gaskets | 6 ea. | 255 |  | 0 | 0 | 0
UPC-89TMF-1 | Install Kit, 2", Flat Metal Plenum, TFS, (1 pk) - Includes (1) Supply Outlets, (1) Take Off for flat metal plenum, (1) Winter Supply Shutoff Caps, (2) Toggles and Screws, (2) extra TFS Gasket | 1 ea. | 40 |  | 0 | 0 | 0
UPC-89TMF-6 | Install Kit, 2", Flat Metal Plenum, TFS, (6 pk) - Includes (6) Supply Outlets, (6) Take offs for flat metal plenum, (6) Winter Supply Shutoff Caps, (12) Toggles and Screws, (2) extra TFS Gaskets | 6 ea. | 99 |  | 0 | 0 | 0
UPC-89TMFR6-6 | Install Kit, 2", R6 Flat Metal Plenum, TFS, (6 pk) - Includes (6) Supply Outlets, (6) Take offs for flat metal plenum, (6) Winter Supply Shutoff Caps, (12) Toggles and Screws, (2) extra TFS Gaskets | 6 ea. | 92 |  | 0 | 0 | 0
Round Face Plates (outlets)
UPC-56TB-1 | Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only | 1 ea. | 33 |  | 0 | 0 | 0
UPC-56TB-6 | Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only (6 pcs) | 6 ea. | 65 |  | 0 | 0 | 0
UPC-56TB-BLK-1 | Black Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only | 1 ea. | 34 |  | 0 | 0 | 0
UPC-56TB-BLK-6 | Black Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only (6 pcs) | 6 ea. | 69 |  | 0 | 0 | 0
UPC-57T-RO-1 | Outlet, TFS, Wood, Red Oak, Face Plate Only | 1 ea. | 60 |  | 0 | 0 | 0
UPC-57T-RO-6 | Outlet, TFS, Wood, Red Oak, Face Plate Only (6 pcs) | 6 ea. | 331 |  | 0 | 0 | 0
Slotted Outlets
UPC-67TA | Outlet Assy, Slot, 90deg, Plastic, White, with mounting bracket TFS | 1 ea. | 170 |  | 0 | 0 | 0
UPC-68T | Outlet, Slotted, Straight, plastic, white TFS | 1 ea. | 170 |  | 0 | 0 | 0
UPC-101 | Supply Outlet Kit, Slotted, Plastic, White (for plenum duct) | 1 ea. | 73 |  | 0 | 0 | 0
UPC-66 | Outlet Assy, Slot, 90deg, Aluminum | 1 ea. | 248 |  | 0 | 0 | 0
Round Supply Air & Outlet Components
UPC-28TF-1 | TFS, Take-off, for flat metal plenum Includes gasket | 1 ea. | 32 |  | 0 | 0 | 0
UPC-28TF-6 | TFS, Take-off, for flat metal plenum Includes gasket (6 pcs) | 6 ea. | 164 |  | 0 | 0 | 0
UPC-28T-1 | TFS, Take-off, for round metal plenum Includes gasket | 1 ea. | 32 |  | 0 | 0 | 0
UPC-28T-6 | TFS, Take-off, for round metal plenum Includes gasket (6 pcs) | 6 ea. | 148 |  | 0 | 0 | 0
UPC-38TC-1 | TFS, Coupling, 2" Duct, 1 Couplings, makes 1 connection (2 included connectors make 1 coupling) | 1 ea. | 42 |  | 0 | 0 | 0
UPC-38TC-6 | TFS, Coupling, 2" Duct, 6 Couplings, makes 6 connections (12 included connectors make 6 couplings) | 6 ea. | 245 |  | 0 | 0 | 0
Sound Attenuator Tubing (12' lengths from R3.3 to R8 available)
UPC-26TC-1 | Sound Attenuator Tubing, 2" ID x 12'L, R-3.3 (12 ft. per box) | 1 ea. | 119 |  | 0 | 0 | 0
UPC-26TC-6 | Sound Attenuator Tubing, 2" ID x 12'L, R-3.3 (72 ft. per box) | 6 ea. | 538 |  | 0 | 0 | 0
UPC-26TCR4-1 | Sound Attenuator Tubing, 2" ID x 12'L, R-4.2 (12 ft. per box) | 1 ea. | 131 |  | 0 | 0 | 0
UPC-26TCR4-6 | Sound Attenuator Tubing, 2" ID x 12'L, R-4.2 (72 ft. per box) | 6 ea. | 582 |  | 0 | 0 | 0
UPC-26TCR6-1 | Sound Attenuator Tubing, 2" ID x 12'L, R-6 (12 ft. per box) | 1 ea. | 176 |  | 0 | 0 | 0
UPC-26TCR6-6 | Sound Attenuator Tubing, 2" ID x 12'L, R-6.0 (72 ft. per box) | 6 ea. | 846 |  | 0 | 0 | 0
UPC-26TCR8-1 | Sound Attenuator Tubing, 2" ID x 12'L, R-8 (12 ft. per box) | 1 ea. | 200 |  | 0 | 0 | 0
UPC-26TCR8-6 | Sound Attenuator Tubing, 2" ID x 12'L, R-8.0 (72 ft. per box) | 6 ea. | 983 |  | 0 | 0 | 0
Aluminum Core Tubing (25' length from R3.3 to R8 available)
UPC-25T-1 | Supply Tubing, Aluminum, 2" ID x 25'L, R-3.3 (25 ft. per box) | 1 ea. | 194 |  | 0 | 0 | 0
UPC-25T-4 | Supply Tubing, Aluminum, 2" ID x 25'L, R-3.3 (100 ft. per box) | 4 ea. | 650 |  | 0 | 0 | 0
UPC-25T-R4-1 | Supply Tubing, Aluminum, 2" ID x 25'L, R-4.2 (25 ft. per box) | 1 ea. | 232 |  | 0 | 0 | 0
UPC-25T-R4-4 | Supply Tubing, Aluminum, 2" ID x 25'L, R-4.2 (100 ft. per box) | 4 ea. | 860 |  | 0 | 0 | 0
UPC-25T-R6-1 | Supply Tubing, Aluminum, 2" ID x 25'L, R-6 (25 ft. per box) | 1 ea. | 282 |  | 0 | 0 | 0
UPC-25T-R6-4 | Supply Tubing, Aluminum, 2" ID x 25'L, R-6.0 (100 ft. per box) | 4 ea. | 1055 |  | 0 | 0 | 0
UPC-25T-R8-1 | Supply Tubing, Aluminum, 2" ID x 25'L, R-8 (25 ft. per box) | 1 ea. | 313 |  | 0 | 0 | 0
UPC-25T-R8-4 | Supply Tubing, Aluminum, 2" ID x 25'L, R-8.0 (100 ft. per box) | 4 ea. | 1164 |  | 0 | 0 | 0
UPC-86-5 | Frame-in Kits, 2" | 5 ea. | 153 |  | 0 | 0 | 0
2.5" Duct Items
UPC-225-1 | Supply Tubing, Aluminum, 2.5" ID x 25'L, R-3.3 single length | 1 ea. | 219 |  | 0 | 0 | 0
UPC-225-3 | Supply Tubing, Aluminum, 2.5" ID x 25'L R-3.3 (75 ft total) | 3 ea. | 577 |  | 0 | 0 | 0
UPC-225-R4-3 | Supply Tubing, Aluminum, 2.5" ID x 25'L, R-4.2 (75 ft total) | 3 ea. | 728 |  | 0 | 0 | 0
UPC-225-R6-3 | Supply Tubing, Aluminum, 2.5" ID x 25'L, R-6.0 (75 ft total) | 3 ea. | 985 |  | 0 | 0 | 0
UPC-225-R8-3 | Supply Tubing, Aluminum, 2.5" ID x 25'L, R-8.0 (75 ft total) | 3 ea. | 1077 |  | 0 | 0 | 0
UPC-226-5 | Sound Attenuator Tubing, 2.5" ID x 12'L R-3.3(60 ft total) | 5 ea. | 477 |  | 0 | 0 | 0
UPC-226-R4-5 | Sound Attenuator Tubing, 2.5" ID x 12'L, R-4.2 (60 ft total) | 5 ea. | 562 |  | 0 | 0 | 0
UPC-226-R6-5 | Sound Attenuator Tubing, 2.5" ID x 12'L, R-6.0 (60 ft total) | 5 ea. | 762 |  | 0 | 0 | 0
UPC-226-R8-5 | Sound Attenuator Tubing, 2.5" ID x 12'L, R-8.0 (60 ft total) | 5 ea. | 886 |  | 0 | 0 | 0
UPC-280M-1 | Outlet Kit, 2.5", Round Metal Plenum (single outlet) Includes Supply Outlet, 12' R-3.3 Attenuator Tube, Round Metal Plenum Take Off, Winter Shutoff Cap, (2) Scrim Core Clamps (silver), (2) Aluminum Clamps (black), Coupling with Tape Rings, (1) Balancing Orifice Kit | 1 ea. | 209 |  | 0 | 0 | 0
UPC-289M-5 | Installation Kit, 2.5", Round Metal Plenum (5 outlets) Includes (5) Supply Outlets, (5) Metal Take Offs, (5) Winter Supply Shutoff Caps, (10) Scrim Core Clamps (silver), (10) Toggles and Screws, (10) Aluminum Core Clamps (black), (1) Balancing Orifice Kit, (5) Couplings with (10) Tape Rings | 5 ea. | 357 |  | 0 | 0 | 0
UPC-289MF-5 | Installation Kit, 2.5", Rectangular Metal Plenum (5 outlets) Includes (5) Supply Outlets, (5) Metal Take Offs, (5) Winter Supply Shutoff Caps, (10) Scrim Core Clamps (silver), (10) Toggles and Screws, (10) Aluminum Core Clamps (black), (1) Balancing Orifice Kit, (5) Couplings with (10) Tape Rings | 5 ea. | 357 |  | 0 | 0 | 0
UPC-286-5 | Frame-in Kits, 2.5" | 5 ea. | 176 |  | 0 | 0 | 0
| Your Total Cost | [5 empty] | 0

## 2 - 2.5 ton
2 to 2.5 Tons
Model# | Description | Box Qty | List Price | Order Qty | Extended List Price | Your Cost (each) | Total Extended Cost
| Insert your multiplier in yellow box |  |  |  | 0
Modular Air Handler Unit (Horizontal Applications)
M2430BL2-ST2 | Module, Blower, Standard Control, Single Speed, 208/230V only | 1 ea. | 1490 |  | 0 | 0 | 0
M2430BL1-EC2 | Module, Blower, SCB, Variable Speed ECM, 120V/208/230V | 1 ea. | 2328 |  | 0 | 0 | 0
M2430CL1-B | Module, Refrigerant Coil (4 Row)*(AC) | 1 ea. | 1910 |  | 0 | 0 | 0
M2430CL1-E | Module, Refrigerant Coil (6 Row)*(HP) | 1 ea. | 2085 |  | 0 | 0 | 0
M2430V2 | Module, Vertical Plenum (includes Spacer & 18"x25" Filter) | 1 ea. | 1595 |  | 0 | 0 | 0
Vertical Air Handler (One Piece, Painted)
V2430B-1EC2BX | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 3 Row Coil, (AC) NO HWC | 1 ea. | 5886 |  | 0 | 0 | 0
V2430B-1EC2EX | Vertical Air Handler, SCB, Variable Speed, 120V/208/230V, 4 Row Coil, (HP) NO HWC - 18"x18" Filter | 1 ea. | 6174 |  | 0 | 0 | 0
HW-V2430 | Hot Water Coil for V2430 | 1 ea. | 1006 |  | 0 | 0 | 0
Hot Water and Chilled Water Coils and Modules
HW-2430 | Coil, Hot Water (fits M2430CL1-X, M2430V2) | 1 ea. | 920 |  | 0 | 0 | 0
M2430CL1-C | Module, Chilled Water Coil | 1 ea. | 2030 |  | 0 | 0 | 0
M2430CL1-H | Module, Heating (with Hot Water Coil) | 1 ea. | 1254 |  | 0 | 0 | 0
M2430CL1-X | Module, Heating (without Hot Water Coil) | 1 ea. | 381 |  | 0 | 0 | 0
Electric Furnaces
WON0202-C | Furnace, Electric, 2 kW, 1P/240V (matches all models)** | 1 ea. | 904 |  | 0 | 0 | 0
WON0502-C | Furnace, Electric, 5 kW, 1P/240V (matches all models)** | 1 ea. | 948 |  | 0 | 0 | 0
WON0752-C | Furnace, Electric, 7.5 kW, 1P/240V (matches all models)** | 1 ea. | 1074 |  | 0 | 0 | 0
WON1002-C | Furnace, Electric, 10 kW, 1P/240V (matches 2430, 3036, 3642 4860)** | 1 ea. | 1171 |  | 0 | 0 | 0
WON1502-C | Furnace, Electric, 15 kW, 1P/240V (matches 2430, 3036, 3642, 4860)** | 1 ea. | 1938 |  | 0 | 0 | 0
Indoor Air Quality
UVC1-09 | Module Assy, UV Light - Cabinet Only | 1 ea. | 552 |  | 0 | 0 | 0
UVL1-09 | Module Assy, UV Light | 1 ea. | 1350 |  | 0 | 0 | 0
A02654-001 | Pleated Filter, 14x25x1, MERV 13 | 1 ea. | 22 |  | 0 | 0 | 0
A02654-004 | Pleated Filter, 18x25x1, MERV 13 | 1 ea. | 23 |  | 0 | 0 | 0
A02654-005 | Pleated Filter, 18x18x1, MERV 13 | 1 ea. | 24 |  | 0 | 0 | 0
Supply Plenum Accessories
UPC-61-2430 | Adapter, Supply, Round, 7" | 1 ea. | 82 |  | 0 | 0 | 0
UPC-62-2430 | Adapter, Supply, Square, 8.5" ID | 1 ea. | 98 |  | 0 | 0 | 0
Drain Pans
UPC-20B | Secondary Drain Pan (2 Module 2430) | 1 ea. | 453 |  | 0 | 0 | 0
UPC-20C | Secondary Drain Pan (3 Module 2430) | 1 ea. | 406 |  | 0 | 0 | 0
Return Air Parts
UPC-01-2430 | Return Air Box with Grille and 14"x 25" Filter | 1 ea. | 291 |  | 0 | 0 | 0
UPC-04-2430 | Return Air Duct , R-4.2, 14" D x 10 ft. | 1 ea. | 346 |  | 0 | 0 | 0
UPC-59-2430 | Return Air Adapter (fits to M2430CL1-A,B, C or E coil modules),14" duct | 1 ea. | 206 |  | 0 | 0 | 0
UPC-104-2430 | Return Air Adapter (fits to M2430CL1-X or H, M2430V2), 14" duct | 1 ea. | 291 |  | 0 | 0 | 0
M2430R1 | Module, Horizontal Multiple Return Air (Includes 14"x25" Filter) | 1 ea. | 394 |  | 0 | 0 | 0
Install Kits for metal duct
UPC-89TM-1 | Install Kit, 2", Round Metal Plenum, TFS, (1 pk) - Includes (1) Supply Outlets, (1) Take Off for round metal plenum, (1) Winter Supply Shutoff Caps, (2) Toggles and Screws, (2) extra TFS Gaskets | 1 ea. | 40 |  | 0 | 0 | 0
UPC-89TM-6 | Install Kit, 2", Round Metal Plenum, TFS, (6 pk) - Includes (6) Supply Outlets, (6) Take offs for round metal plenum, (6) Winter Supply Shutoff Caps, (12) Toggles and Screws, (2) extra TFS Gaskets | 6 ea. | 99 |  | 0 | 0 | 0
UPC-89TMR6-1 | Install Kit, 2", R6, Round Metal Plenum, TFS, (1 pk) - Includes (1) Supply Outlets, (1) Take Off for round metal plenum, (1) Winter Supply Shutoff Caps, (2) Toggles and Screws, (2) extra TFS Gaskets | 1 ea. | 53 |  | 0 | 0 | 0
UPC-89TMR6-6 | Install Kit, 2", R6, Round Metal Plenum, TFS, (6 pk) - Includes (6) Supply Outlets, (6) Take offs for round metal plenum, (6) Winter Supply Shutoff Caps, (12) Toggles and Screws, (2) extra TFS Gaskets | 6 ea. | 255 |  | 0 | 0 | 0
UPC-89TMF-1 | Install Kit, 2", Flat Metal Plenum, TFS, (1 pk) - Includes (1) Supply Outlets, (1) Take Off for flat metal plenum, (1) Winter Supply Shutoff Caps, (2) Toggles and Screws, (2) extra TFS Gasket | 1 ea. | 40 |  | 0 | 0 | 0
UPC-89TMF-6 | Install Kit, 2", Flat Metal Plenum, TFS, (6 pk) - Includes (6) Supply Outlets, (6) Take offs for flat metal plenum, (6) Winter Supply Shutoff Caps, (12) Toggles and Screws, (2) extra TFS Gaskets | 6 ea. | 99 |  | 0 | 0 | 0
UPC-89TMFR6-6 | Install Kit, 2", R6 Flat Metal Plenum, TFS, (6 pk) - Includes (6) Supply Outlets, (6) Take offs for flat metal plenum, (6) Winter Supply Shutoff Caps, (12) Toggles and Screws, (2) extra TFS Gaskets | 6 ea. | 92 |  | 0 | 0 | 0
Round Face Plates (outlets)
UPC-56TB-1 | Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only | 1 ea. | 33 |  | 0 | 0 | 0
UPC-56TB-6 | Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only (6 pcs) | 6 ea. | 65 |  | 0 | 0 | 0
UPC-56TB-BLK-1 | Black Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only | 1 ea. | 34 |  | 0 | 0 | 0
UPC-56TB-BLK-6 | Black Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only (6 pcs) | 6 ea. | 68.9987 |  | 0 | 0 | 0
UPC-57T-RO-1 | Outlet, TFS, Wood, Red Oak, Face Plate Only | 1 ea. | 60 |  | 0 | 0 | 0
UPC-57T-RO-6 | Outlet, TFS, Wood, Red Oak, Face Plate Only (6 pcs) | 6 ea | 331 |  | 0 | 0 | 0
Slotted Outlets
UPC-67TA | Outlet Assy, Slot, 90deg, Plastic, White, with mounting bracket TFS | 1 ea. | 170 |  | 0 | 0 | 0
UPC-68T | Outlet, Slotted, Straight, plastic, white TFS | 1 ea. | 170 |  | 0 | 0 | 0
UPC-101 | Supply Outlet Kit, Slotted, Plastic, White (for plenum duct) | 1 ea. | 73 |  | 0 | 0 | 0
UPC-66 | Outlet Assy, Slot, 90deg, Aluminum | 1 ea. | 248 |  | 0 | 0 | 0
Round Supply Air & Outlet Components
UPC-28TF-1 | TFS, Take-off, for flat metal plenum Includes gasket | 1 ea. | 32 |  | 0 | 0 | 0
UPC-28TF-6 | TFS, Take-off, for flat metal plenum Includes gasket (6 pcs) | 6 ea. | 164 |  | 0 | 0 | 0
UPC-28T-1 | TFS, Take-off, for round metal plenum Includes gasket | 1 ea. | 32 |  | 0 | 0 | 0
UPC-28T-6 | TFS, Take-off, for round metal plenum Includes gasket (6 pcs) | 6 ea. | 148 |  | 0 | 0 | 0
UPC-38TC-1 | TFS, Coupling, 2" Duct, 1 Couplings, makes 1 connection (2 included connectors make 1 coupling) | 1 ea. | 42 |  | 0 | 0 | 0
UPC-38TC-6 | TFS, Coupling, 2" Duct, 6 Couplings, makes 6 connections (12 included connectors make 6 couplings) | 6 ea. | 245 |  | 0 | 0 | 0
Sound Attenuator Tubing (12' lengths from R3.3 to R8 available)
UPC-26TC-1 | Sound Attenuator Tubing, 2" ID x 12'L, R-3.3 (12 ft. per box) | 1 ea. | 119 |  | 0 | 0 | 0
UPC-26TC-6 | Sound Attenuator Tubing, 2" ID x 12'L, R-3.3 (72 ft. per box) | 6 ea. | 538 |  | 0 | 0 | 0
UPC-26TCR4-1 | Sound Attenuator Tubing, 2" ID x 12'L, R-4.2 (12 ft. per box) | 1 ea. | 131 |  | 0 | 0 | 0
UPC-26TCR4-6 | Sound Attenuator Tubing, 2" ID x 12'L, R-4.2 (72 ft. per box) | 6 ea. | 582 |  | 0 | 0 | 0
UPC-26TCR6-1 | Sound Attenuator Tubing, 2" ID x 12'L, R-6 (12 ft. per box) | 1 ea. | 176 |  | 0 | 0 | 0
UPC-26TCR6-6 | Sound Attenuator Tubing, 2" ID x 12'L, R-6.0 (72 ft. per box) | 6 ea. | 846 |  | 0 | 0 | 0
UPC-26TCR8-1 | Sound Attenuator Tubing, 2" ID x 12'L, R-8 (12 ft. per box) | 1 ea. | 200 |  | 0 | 0 | 0
UPC-26TCR8-6 | Sound Attenuator Tubing, 2" ID x 12'L, R-8.0 (72 ft. per box) | 6 ea. | 983 |  | 0 | 0 | 0
Aluminum Core Tubing (25' length from R3.3 to R8 available)
UPC-25T-1 | Supply Tubing, Aluminum, 2" ID x 25'L, R-3.3 (25 ft. per box) | 1 ea. | 194 |  | 0 | 0 | 0
UPC-25T-4 | Supply Tubing, Aluminum, 2" ID x 25'L, R-3.3 (100 ft. per box) | 4 ea. | 650 |  | 0 | 0 | 0
UPC-25T-R4-1 | Supply Tubing, Aluminum, 2" ID x 25'L, R-4.2 (25 ft. per box) | 1 ea. | 232 |  | 0 | 0 | 0
UPC-25T-R4-4 | Supply Tubing, Aluminum, 2" ID x 25'L, R-4.2 (100 ft. per box) | 4 ea. | 860 |  | 0 | 0 | 0
UPC-25T-R6-1 | Supply Tubing, Aluminum, 2" ID x 25'L, R-6 (25 ft. per box) | 1 ea. | 282 |  | 0 | 0 | 0
UPC-25T-R6-4 | Supply Tubing, Aluminum, 2" ID x 25'L, R-6.0 (100 ft. per box) | 4 ea. | 1055 |  | 0 | 0 | 0
UPC-25T-R8-1 | Supply Tubing, Aluminum, 2" ID x 25'L, R-8 (25 ft. per box) | 1 ea. | 313 |  | 0 | 0 | 0
UPC-25T-R8-4 | Supply Tubing, Aluminum, 2" ID x 25'L, R-8.0 (100 ft. per box) | 4 ea. | 1164 |  | 0 | 0 | 0
UPC-86-5 | Frame-in Kits, 2" | 5 ea. | 153 |  | 0 | 0 | 0
2.5" Duct Items
UPC-225-1 | Supply Tubing, Aluminum, 2.5" ID x 25'L, R-3.3 single length | 1 ea. | 219 |  | 0 | 0 | 0
UPC-225-3 | Supply Tubing, Aluminum, 2.5" ID x 25'L R-3.3 (75 ft total) | 3 ea. | 577 |  | 0 | 0 | 0
UPC-225-R4-3 | Supply Tubing, Aluminum, 2.5" ID x 25'L, R-4.2 (75 ft total) | 3 ea. | 728 |  | 0 | 0 | 0
UPC-225-R6-3 | Supply Tubing, Aluminum, 2.5" ID x 25'L, R-6.0 (75 ft total) | 3 ea. | 985 |  | 0 | 0 | 0
UPC-225-R8-3 | Supply Tubing, Aluminum, 2.5" ID x 25'L, R-8.0 (75 ft total) | 3 ea. | 1077 |  | 0 | 0 | 0
UPC-226-5 | Sound Attenuator Tubing, 2.5" ID x 12'L R-3.3(60 ft total) | 5 ea. | 477 |  | 0 | 0 | 0
UPC-226-R4-5 | Sound Attenuator Tubing, 2.5" ID x 12'L, R-4.2 (60 ft total) | 5 ea. | 562 |  | 0 | 0 | 0
UPC-226-R6-5 | Sound Attenuator Tubing, 2.5" ID x 12'L, R-6.0 (60 ft total) | 5 ea. | 762 |  | 0 | 0 | 0
UPC-226-R8-5 | Sound Attenuator Tubing, 2.5" ID x 12'L, R-8.0 (60 ft total) | 5 ea. | 886 |  | 0 | 0 | 0
UPC-280M-1 | Outlet Kit, 2.5", Round Metal Plenum (single outlet) Includes Supply Outlet, 12' R-3.3 Attenuator Tube, Round Metal Plenum Take Off, Winter Shutoff Cap, (2) Scrim Core Clamps (silver), (2) Aluminum Clamps (black), Coupling with Tape Rings, (1) Balancing Orifice Kit | 1 ea. | 210 |  | 0 | 0 | 0
UPC-289M-5 | Installation Kit, 2.5", Round Metal Plenum (5 outlets) Includes (5) Supply Outlets, (5) Metal Take Offs, (5) Winter Supply Shutoff Caps, (10) Scrim Core Clamps (silver), (10) Toggles and Screws, (10) Aluminum Core Clamps (black), (1) Balancing Orifice Kit, (5) Couplings with (10) Tape Rings | 5 ea. | 357 |  | 0 | 0 | 0
UPC-289MF-5 | Installation Kit, 2.5", Rectangular Metal Plenum (5 outlets) Includes (5) Supply Outlets, (5) Metal Take Offs, (5) Winter Supply Shutoff Caps, (10) Scrim Core Clamps (silver), (10) Toggles and Screws, (10) Aluminum Core Clamps (black), (1) Balancing Orifice Kit, (5) Couplings with (10) Tape Rings | 5 ea. | 357 |  | 0 | 0 | 0
UPC-286-5 | Frame-in Kits, 2.5" | 5 ea. | 176 |  | 0 | 0 | 0
| Your Total Cost | [5 empty] | 0

## 2.5 - 3 ton
2.5 to 3 Tons
Model# | Description | Box Qty | List Price | Order Qty | Extended List Price | ` | Your Cost (each) | Total Extended Cost
| Insert your multiplier in yellow box |  |  |  | 0
Modular Air Handler Unit (Horizontal Applications)
M3036BL2-ST2 | Module, Blower, Standard Control, Single Speed, 208/230V only | 1 ea. | 1544 |  | 0 |  | 0 | 0
M3036BL1-EC2 | Module, Blower, SCB, Variable Speed ECM, 120V/208/230V | 1 ea. | 2625 |  | 0 |  | 0 | 0
M3036CL1-B | Module, Refrigerant Coil (4 Row)* (AC) | 1 ea. | 2263 |  | 0 |  | 0 | 0
M3036CL1-E | Module, Cooling, Heat Pump, R-410A | 1 ea. | 2414 |  | 0 |  | 0 | 0
M3036V2 | Module, Vertical Plenum 3036 (includes Spacer & 18"x30" Filter) | 1 ea. | 1725 |  | 0 |  | 0 | 0
Vertical Air Handler (One Piece, Painted)
V3036B-1EC2BX | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 3 Row Coil, (AC) NO HWC | 1 ea. | 5966 |  | 0 |  | 0 | 0
V3036B-1EC2EX | Vertical Air Handler, SCB, Variable Speed, 120V/208/230V, 4 Row Coil, (HP) NO HWC - 18"x22" Filter | 1 ea. | 6264 |  | 0 |  | 0 | 0
HW-V3036 | Hot Water Coil for V3036 | 1 ea. | 1133 |  | 0 |  | 0 | 0
Hot Water and Chilled Water Coils and Modules
HW-3036 | Hot Water Coil for 3036 | 1 ea. | 1148 |  | 0 |  | 0 | 0
M3036CL1-C | Module, Chilled Water Coil | 1 ea. | 2434 |  | 0 |  | 0 | 0
M3036CL1-H | Module, Heating, (with hot water coil) | 1 ea. | 1568 |  | 0 |  | 0 | 0
M3036CL1-X | Module, Heating (without hot water coil) | 1 ea. | 380 |  | 0 |  | 0 | 0
Electric Furnaces
WON0202-C | Furnace, Electric, 2 kW, 1P/240V (matches all models)** | 1 ea. | 904 |  | 0 |  | 0 | 0
WON0502-C | Furnace, Electric, 5 kW, 1P/240V (matches all models)** | 1 ea. | 948 |  | 0 |  | 0 | 0
WON0752-C | Furnace, Electric, 7.5 kW, 1P/240V (matches all models)** | 1 ea. | 1074 |  | 0 |  | 0 | 0
WON1002-C | Furnace, Electric, 10 kW, 1P/240V (matches 2430, 3036, 3642 4860)** | 1 ea. | 1171 |  | 0 |  | 0 | 0
WON1502-C | Furnace, Electric, 15 kW, 1P/240V (matches 2430, 3036, 3642, 4860)** | 1 ea. | 1938 |  | 0 |  | 0 | 0
WON2002-C | Furnace, Electric, 20 kW, 1P/240V (matches 3036, 3642, 4860)** | 1 ea. | 2128 |  | 0 |  | 0 | 0
Indoor Air Quality
UVC1-09 | Module Assy, UV Light - Cabinet Only | 1 ea. | 552 |  | 0 |  | 0 | 0
UVL1-09 | Module Assy, UV Light | 1 ea. | 1350 |  | 0 |  | 0 | 0
A02654-002 | Pleated Filter, 14x30x1, MERV 13 | 1 ea. | 25 |  | 0 |  | 0 | 0
A02654-007 | Pleated Filter, 18x30x1, MERV 13 | 1 ea. | 42 |  | 0 |  | 0 | 0
A02654-008 | Pleated Filter, 18x22x1, MERV 13 | 1 ea. | 25 |  | 0 |  | 0 | 0
Supply Plenum Accessories
UPC-61-3036 | Supply Air Adapter, Round Take-Off, 3036 | 1 ea. | 92 |  | 0 |  | 0 | 0
UPC-62-3036 | Adapter, Supply, Square, 10.5" X 10.5" | 1 ea. | 101 |  | 0 |  | 0 | 0
Drain Pans
UPC-27B | Secondary Drain Pan, 2 module 3036 | 1 ea. | 421 |  | 0 |  | 0 | 0
UPC-27C | Secondary Drain Pan, 3 module 3036 | 1 ea. | 417 |  | 0 |  | 0 | 0
Return Air Parts
UPC-01-3036 | Return Air Box with Grille and 14"x30" Filter | 1 ea. | 332 |  | 0 |  | 0 | 0
UPC-04-3036 | Return Air Duct , R-4.2, 16" D x 10 ft. | 1 ea. | 387 |  | 0 |  | 0 | 0
UPC-59-3036 | Return Air Adapter (fits M3036CL1- A, B, C or E coil modules) 16" duct | 1 ea. | 191 |  | 0 |  | 0 | 0
UPC-104-3036 | Return Air Adapter (fits M3036CL1-X or H M3036V2 Module) 16" duct | 1 ea. | 303 |  | 0 |  | 0 | 0
M3036R1 | Module, Horizontal Multiple Return Air For 3036, (Includes 14"x30" filter) | 1 ea. | 485 |  | 0 |  | 0 | 0
Install Kits for metal duct
UPC-89TM-1 | Install Kit, 2", Round Metal Plenum, TFS, (1 pk) - Includes (1) Supply Outlets, (1) Take Off for round metal plenum, (1) Winter Supply Shutoff Caps, (2) Toggles and Screws, (2) extra TFS Gaskets | 1 ea. | 40 |  | 0 |  | 0 | 0
UPC-89TM-6 | Install Kit, 2", Round Metal Plenum, TFS, (6 pk) - Includes (6) Supply Outlets, (6) Take offs for round metal plenum, (6) Winter Supply Shutoff Caps, (12) Toggles and Screws, (2) extra TFS Gaskets | 6 ea. | 99 |  | 0 |  | 0 | 0
UPC-89TMR6-1 | Install Kit, 2", R6, Round Metal Plenum, TFS, (1 pk) - Includes (1) Supply Outlets, (1) Take Off for round metal plenum, (1) Winter Supply Shutoff Caps, (2) Toggles and Screws, (2) extra TFS Gaskets | 1 ea. | 53 |  | 0 |  | 0 | 0
UPC-89TMR6-6 | Install Kit, 2", R6, Round Metal Plenum, TFS, (6 pk) - Includes (6) Supply Outlets, (6) Take offs for round metal plenum, (6) Winter Supply Shutoff Caps, (12) Toggles and Screws, (2) extra TFS Gaskets | 6 ea. | 255 |  | 0 |  | 0 | 0
UPC-89TMF-1 | Install Kit, 2", Flat Metal Plenum, TFS, (1 pk) - Includes (1) Supply Outlets, (1) Take Off for flat metal plenum, (1) Winter Supply Shutoff Caps, (2) Toggles and Screws, (2) extra TFS Gasket | 1 ea. | 40 |  | 0 |  | 0 | 0
UPC-89TMF-6 | Install Kit, 2", Flat Metal Plenum, TFS, (6 pk) - Includes (6) Supply Outlets, (6) Take offs for flat metal plenum, (6) Winter Supply Shutoff Caps, (12) Toggles and Screws, (2) extra TFS Gaskets | 6 ea. | 99 |  | 0 |  | 0 | 0
UPC-89TMFR6-6 | Install Kit, 2", R6 Flat Metal Plenum, TFS, (6 pk) - Includes (6) Supply Outlets, (6) Take offs for flat metal plenum, (6) Winter Supply Shutoff Caps, (12) Toggles and Screws, (2) extra TFS Gaskets | 6 ea. | 92 |  | 0 |  | 0 | 0
Round Face Plates (outlets)
UPC-56TB-1 | Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only | 1 ea. | 33 |  | 0 |  | 0 | 0
UPC-56TB-6 | Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only (6 pcs) | 6 ea. | 65 |  | 0 |  | 0 | 0
UPC-56TB-BLK-1 | Black Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only | 1 ea. | 34 |  | 0 |  | 0 | 0
UPC-56TB-BLK-6 | Black Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only (6 pcs) | 6 ea. | 69 |  | 0 |  | 0 | 0
UPC-57T-RO-1 | Outlet, TFS, Wood, Red Oak, Face Plate Only | 1 ea. | 60 |  | 0 |  | 0 | 0
UPC-57T-RO-6 | Outlet, TFS, Wood, Red Oak, Face Plate Only (6 pcs) | 6 ea | 331 |  | 0 |  | 0 | 0
Slotted Outlets
UPC-67TA | Outlet Assy, Slot, 90deg, Plastic, White, with mounting bracket TFS | 1 ea. | 170 |  | 0 |  | 0 | 0
UPC-68T | Outlet, Slotted, Straight, plastic, white TFS | 1 ea. | 170 |  | 0 |  | 0 | 0
UPC-101 | Supply Outlet Kit, Slotted, Plastic, White (for plenum duct) | 1 ea. | 73 |  | 0 |  | 0 | 0
UPC-66 | Outlet Assy, Slot, 90deg, Aluminum | 1 ea. | 248 |  | 0 |  | 0 | 0
Round Supply Air & Outlet Components
UPC-28TF-1 | TFS, Take-off, for flat metal plenum Includes gasket | 1 ea. | 32 |  | 0 |  | 0 | 0
UPC-28TF-6 | TFS, Take-off, for flat metal plenum Includes gasket (6 pcs) | 6 ea. | 164 |  | 0 |  | 0 | 0
UPC-28T-1 | TFS, Take-off, for round metal plenum Includes gasket | 1 ea. | 32 |  | 0 |  | 0 | 0
UPC-28T-6 | TFS, Take-off, for round metal plenum Includes gasket (6 pcs) | 6 ea. | 148 |  | 0 |  | 0 | 0
UPC-38TC-1 | TFS, Coupling, 2" Duct, 1 Couplings, makes 1 connection (2 included connectors make 1 coupling) | 1 ea. | 42 |  | 0 |  | 0 | 0
UPC-38TC-6 | TFS, Coupling, 2" Duct, 6 Couplings, makes 6 connections (12 included connectors make 6 couplings) | 6 ea. | 245 |  | 0 |  | 0 | 0
Sound Attenuator Tubing (12' lengths from R3.3 to R8 available)
UPC-26TC-1 | Sound Attenuator Tubing, 2" ID x 12'L, R-3.3 (12 ft. per box) | 1 ea. | 119 |  | 0 |  | 0 | 0
UPC-26TC-6 | Sound Attenuator Tubing, 2" ID x 12'L, R-3.3 (72 ft. per box) | 6 ea. | 538 |  | 0 |  | 0 | 0
UPC-26TCR4-1 | Sound Attenuator Tubing, 2" ID x 12'L, R-4.2 (12 ft. per box) | 1 ea. | 131 |  | 0 |  | 0 | 0
UPC-26TCR4-6 | Sound Attenuator Tubing, 2" ID x 12'L, R-4.2 (72 ft. per box) | 6 ea. | 582 |  | 0 |  | 0 | 0
UPC-26TCR6-1 | Sound Attenuator Tubing, 2" ID x 12'L, R-6 (12 ft. per box) | 1 ea. | 176 |  | 0 |  | 0 | 0
UPC-26TCR6-6 | Sound Attenuator Tubing, 2" ID x 12'L, R-6.0 (72 ft. per box) | 6 ea. | 846 |  | 0 |  | 0 | 0
UPC-26TCR8-1 | Sound Attenuator Tubing, 2" ID x 12'L, R-8 (12 ft. per box) | 1 ea. | 200 |  | 0 |  | 0 | 0
UPC-26TCR8-6 | Sound Attenuator Tubing, 2" ID x 12'L, R-8.0 (72 ft. per box) | 6 ea. | 983 |  | 0 |  | 0 | 0
Aluminum Core Tubing (25' length from R3.3 to R8 available)
UPC-25T-1 | Supply Tubing, Aluminum, 2" ID x 25'L, R-3.3 (25 ft. per box) | 1 ea. | 194 |  | 0 |  | 0 | 0
UPC-25T-4 | Supply Tubing, Aluminum, 2" ID x 25'L, R-3.3 (100 ft. per box) | 4 ea. | 650 |  | 0 |  | 0 | 0
UPC-25T-R4-1 | Supply Tubing, Aluminum, 2" ID x 25'L, R-4.2 (25 ft. per box) | 1 ea. | 232 |  | 0 |  | 0 | 0
UPC-25T-R4-4 | Supply Tubing, Aluminum, 2" ID x 25'L, R-4.2 (100 ft. per box) | 4 ea. | 860 |  | 0 |  | 0 | 0
UPC-25T-R6-1 | Supply Tubing, Aluminum, 2" ID x 25'L, R-6 (25 ft. per box) | 1 ea. | 282 |  | 0 |  | 0 | 0
UPC-25T-R6-4 | Supply Tubing, Aluminum, 2" ID x 25'L, R-6.0 (100 ft. per box) | 4 ea. | 1055 |  | 0 |  | 0 | 0
UPC-25T-R8-1 | Supply Tubing, Aluminum, 2" ID x 25'L, R-8 (25 ft. per box) | 1 ea. | 313 |  | 0 |  | 0 | 0
UPC-25T-R8-4 | Supply Tubing, Aluminum, 2" ID x 25'L, R-8.0 (100 ft. per box) | 4 ea. | 1164 |  | 0 |  | 0 | 0
UPC-86-5 | Frame-in Kits, 2" | 5 ea. | 153 |  | 0 |  | 0 | 0
2.5" Duct Items
UPC-225-1 | Supply Tubing, Aluminum, 2.5" ID x 25'L, R-3.3 single length | 1 ea. | 219 |  | 0 |  | 0 | 0
UPC-225-3 | Supply Tubing, Aluminum, 2.5" ID x 25'L R-3.3 (75 ft total) | 3 ea. | 577 |  | 0 |  | 0 | 0
UPC-225-R4-3 | Supply Tubing, Aluminum, 2.5" ID x 25'L, R-4.2 (75 ft total) | 3 ea. | 728 |  | 0 |  | 0 | 0
UPC-225-R6-3 | Supply Tubing, Aluminum, 2.5" ID x 25'L, R-6.0 (75 ft total) | 3 ea. | 985 |  | 0 |  | 0 | 0
UPC-225-R8-3 | Supply Tubing, Aluminum, 2.5" ID x 25'L, R-8.0 (75 ft total) | 3 ea. | 1077 |  | 0 |  | 0 | 0
UPC-226-5 | Sound Attenuator Tubing, 2.5" ID x 12'L R-3.3(60 ft total) | 5 ea. | 477 |  | 0 |  | 0 | 0
UPC-226-R4-5 | Sound Attenuator Tubing, 2.5" ID x 12'L, R-4.2 (60 ft total) | 5 ea. | 562 |  | 0 |  | 0 | 0
UPC-226-R6-5 | Sound Attenuator Tubing, 2.5" ID x 12'L, R-6.0 (60 ft total) | 5 ea. | 762 |  | 0 |  | 0 | 0
UPC-226-R8-5 | Sound Attenuator Tubing, 2.5" ID x 12'L, R-8.0 (60 ft total) | 5 ea. | 886 |  | 0 |  | 0 | 0
UPC-280M-1 | Outlet Kit, 2.5", Round Metal Plenum (single outlet) Includes Supply Outlet, 12' R-3.3 Attenuator Tube, Round Metal Plenum Take Off, Winter Shutoff Cap, (2) Scrim Core Clamps (silver), (2) Aluminum Clamps (black), Coupling with Tape Rings, (1) Balancing Orifice Kit | 1 ea. | 210 |  | 0 |  | 0 | 0
UPC-289M-5 | Installation Kit, 2.5", Round Metal Plenum (5 outlets) Includes (5) Supply Outlets, (5) Metal Take Offs, (5) Winter Supply Shutoff Caps, (10) Scrim Core Clamps(silver), (10) Toggles and Screws, (10) Aluminum Core Clamps (black), (1) Balancing Orifice Kit, (5) Couplings with (10) Tape Rings | 5 ea. | 357 |  | 0 |  | 0 | 0
UPC-289MF-5 | Installation Kit, 2.5", Rectangular Metal Plenum (5 outlets) Includes (5) Supply Outlets, (5) Metal Take Offs, (5) Winter Supply Shutoff Caps, (10) Scrim Core Clamps (silver), (10) Toggles and Screws, (10) Aluminum Core Clamps (black), (1) Balancing Orifice Kit, (5) Couplings with (10) Tape Rings | 5 ea. | 357 |  | 0 |  | 0 | 0
UPC-286-5 | Frame-in Kits, 2.5" | 5 ea. | 176 |  | 0 |  | 0 | 0
| Your Total Cost | [6 empty] | 0

## 3 - 3.5 ton
3 to 3.5 Tons
Model# | Description | Box Qty | List Price | Order Qty | Extended List Price | ` | Your Cost (each) | Total Extended Cost
| Insert your multiplier in yellow box |  |  |  | 0
Modular Air Handler Unit (Horizontal Applications)
M3642BL2-ST2 | Module, Blower, Standard Control, Single Speed, 208/230V only | 1 ea. | 1664 |  | 0 |  | 0 | 0
M3642BL1-EC2 | Module, Blower, SCB, Variable Speed ECM, 120V - 208/230V | 1 ea. | 2657 |  | 0 |  | 0 | 0
M3642CL1-B | Module, Refrigerant Coil (4 Row)* (AC) | 1 ea. | 2313 |  | 0 |  | 0 | 0
M3642CL1-E | Module, Refrigerant Coil (6 Row)* (HP) | 1 ea. | 2511 |  | 0 |  | 0 | 0
M3642V2 | Module, Vertical Plenum (includes Spacer & 18"x18" Filter & 18"x20" Filter) | 1 ea. | 1781 |  | 0 |  | 0 | 0
Vertical Air Handler (One Piece, Painted)
V3642B-1EC2BX | Vertical Air Handler, SCB Variable Speed, 120/208/230V, 3 Row Coil, (AC) NO HWC | 1 ea. | 6786 |  | 0 |  | 0 | 0
V3642B-1EC2EX | Vertical Air Handler, SCB, Variable Speed, 120V/208/230V, 4 Row Coil, (HP) NO HWC - 21"x22" Filter | 1 ea. | 6980 |  | 0 |  | 0 | 0
HW-V3642 | Hot Water Coil for V3642 | 1 ea. | 1333 |  | 0 |  | 0 | 0
Hot Water and Chilled Water Coils and Modules
HW-3642 | Coil, Hot Water (fits M3642CL1-X, M3642V2) | 1 ea. | 1239 |  | 0 |  | 0 | 0
M3642CL1-C | Module, Chilled Water Coil | 1 ea. | 2579 |  | 0 |  | 0 | 0
M3642CL1-H | Module, Heating (with Hot Water Coil) | 1 ea. | 1741 |  | 0 |  | 0 | 0
M3642CL1-X | Module, Heating (without Hot Water Coil) | 1 ea. | 408 |  | 0 |  | 0 | 0
Electric Furnaces
WON0202-C | Furnace, Electric, 2 kW, 1P/240V (matches all models)** | 1 ea. | 904 |  | 0 |  | 0 | 0
WON0502-C | Furnace, Electric, 5 kW, 1P/240V (matches all models)** | 1 ea. | 948 |  | 0 |  | 0 | 0
WON0752-C | Furnace, Electric, 7.5 kW, 1P/240V (matches all models)** | 1 ea. | 1074 |  | 0 |  | 0 | 0
WON1002-C | Furnace, Electric, 10 kW, 1P/240V (matches 2430, 3036, 3642 4860)** | 1 ea. | 1171 |  | 0 |  | 0 | 0
WON1004-C | Furnace, Electric, 10 kW, 3P/230V (matches 2430, 3036, 3642, 4860)** | 1 ea. | 1455 |  | 0 |  | 0 | 0
WON1502-C | Furnace, Electric, 15 kW, 1P/240V (matches 2430, 3036, 3642, 4860)** | 1 ea. | 1938 |  | 0 |  | 0 | 0
WON2002-C | Furnace, Electric, 20 kW, 1P/240V (matches 3036, 3642, 4860)** | 1 ea. | 2128 |  | 0 |  | 0 | 0
Indoor Air Quality
UVC1-09 | Module Assy, UV Light - Cabinet Only | 1 ea. | 552 |  | 0 |  | 0 | 0
UVL1-09 | Module Assy, UV Light | 1 ea. | 1350 |  | 0 |  | 0 | 0
A02654-002 | Pleated Filter, 14x30x1, MERV 13 | 1 ea. | 25 |  | 0 |  | 0 | 0
A02654-003 | Pleated Filter, 18x20x1, MERV 13 | 1 ea. | 23 |  | 0 |  | 0 | 0
A02654-005 | Pleated Filter, 18x18x1, MERV 13 | 1 ea. | 22 |  | 0 |  | 0 | 0
A02654-009 | Pleated Filter, 21x22x1, MERV 13 | 1 ea. | 37 |  | 0 |  | 0 | 0
A02654-011 | Pleated Filter, 14x38x1, MERV 13 | 1 ea. | 54 |  | 0 |  | 0 | 0
Supply Plenum Accessories
UPC-61-3642 | Adapter, Supply, Round, 9 | 1 ea. | 92 |  | 0 |  | 0 | 0
UPC-62-3642 | Adapter, Supply, Square, 10.5" ID | 1 ea. | 101 |  | 0 |  | 0 | 0
Drain Pans
UPC-24B | Secondary Drain Pan (2 Module 3642) | 1 ea. | 428 |  | 0 |  | 0 | 0
UPC-24C | Secondary Drain Pan (2 Module 4860) | 1 ea. | 427 |  | 0 |  | 0 | 0
Return Air Parts
UPC-01-3642 | Return Air Box with Grille and 14"x30" Filter | 1 ea. | 332 |  | 0 |  | 0 | 0
UPC-04-3642 | Return Air Duct , R-4.2, 18" D x 10 ft. | 1 ea. | 395 |  | 0 |  | 0 | 0
UPC-59-3642 | Return Air Adapter (fits to M3642CL1-B, C or E coil module), for 18" duct | 1 ea. | 234 |  | 0 |  | 0 | 0
UPC-104-3642 | Return Air Adapter (fits to M3642CL1-X or H, M3642V2), for 18" duct | 1 ea. | 300 |  | 0 |  | 0 | 0
M3642R1 | Module, Horizontal Multiple Return Air (Includes 14"x38" Filter) | 1 ea. | 512 |  | 0 |  | 0 | 0
Install Kits for metal duct
UPC-89TM-1 | Install Kit, 2", Round Metal Plenum, TFS, (1 pk) - Includes (1) Supply Outlets, (1) Take Off for round metal plenum, (1) Winter Supply Shutoff Caps, (2) Toggles and Screws, (2) extra TFS Gaskets | 1 ea. | 40 |  | 0 |  | 0 | 0
UPC-89TM-6 | Install Kit, 2", Round Metal Plenum, TFS, (6 pk) - Includes (6) Supply Outlets, (6) Take offs for round metal plenum, (6) Winter Supply Shutoff Caps, (12) Toggles and Screws, (2) extra TFS Gaskets | 6 ea. | 99 |  | 0 |  | 0 | 0
UPC-89TMR6-1 | Install Kit, 2", R6, Round Metal Plenum, TFS, (1 pk) - Includes (1) Supply Outlets, (1) Take Off for round metal plenum, (1) Winter Supply Shutoff Caps, (2) Toggles and Screws, (2) extra TFS Gaskets | 1 ea. | 53 |  | 0 |  | 0 | 0
UPC-89TMR6-6 | Install Kit, 2", R6, Round Metal Plenum, TFS, (6 pk) - Includes (6) Supply Outlets, (6) Take offs for round metal plenum, (6) Winter Supply Shutoff Caps, (12) Toggles and Screws, (2) extra TFS Gaskets | 6 ea. | 255 |  | 0 |  | 0 | 0
UPC-89TMF-1 | Install Kit, 2", Flat Metal Plenum, TFS, (1 pk) - Includes (1) Supply Outlets, (1) Take Off for flat metal plenum, (1) Winter Supply Shutoff Caps, (2) Toggles and Screws, (2) extra TFS Gasket | 1 ea. | 40 |  | 0 |  | 0 | 0
UPC-89TMF-6 | Install Kit, 2", Flat Metal Plenum, TFS, (6 pk) - Includes (6) Supply Outlets, (6) Take offs for flat metal plenum, (6) Winter Supply Shutoff Caps, (12) Toggles and Screws, (2) extra TFS Gaskets | 6 ea. | 99 |  | 0 |  | 0 | 0
UPC-89TMFR6-6 | Install Kit, 2", R6 Flat Metal Plenum, TFS, (6 pk) - Includes (6) Supply Outlets, (6) Take offs for flat metal plenum, (6) Winter Supply Shutoff Caps, (12) Toggles and Screws, (2) extra TFS Gaskets | 6 ea. | 92 |  | 0 |  | 0 | 0
Round Face Plates (outlets)
UPC-56TB-1 | Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only | 1 ea. | 33 |  | 0 |  | 0 | 0
UPC-56TB-6 | Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only (6 pcs) | 6 ea. | 65 |  | 0 |  | 0 | 0
UPC-56TB-BLK-1 | Black Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only | 1 ea. | 34 |  | 0 |  | 0 | 0
UPC-56TB-BLK-6 | Black Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only (6 pcs) | 6 ea. | 68.9987 |  | 0 |  | 0 | 0
UPC-57T-RO-1 | Outlet, TFS, Wood, Red Oak, Face Plate Only | 1 ea. | 60 |  | 0 |  | 0 | 0
UPC-57T-RO-6 | Outlet, TFS, Wood, Red Oak, Face Plate Only (6 pcs) | 6 ea | 331 |  | 0 |  | 0 | 0
Slotted Outlets
UPC-67TA | Outlet Assy, Slot, 90deg, Plastic, White, with mounting bracket TFS | 1 ea. | 170 |  | 0 |  | 0 | 0
UPC-68T | Outlet, Slotted, Straight, plastic, white TFS | 1 ea. | 170 |  | 0 |  | 0 | 0
UPC-101 | Supply Outlet Kit, Slotted, Plastic, White (for plenum duct) | 1 ea. | 73 |  | 0 |  | 0 | 0
UPC-66 | Outlet Assy, Slot, 90deg, Aluminum | 1 ea. | 248 |  | 0 |  | 0 | 0
Round Supply Air & Outlet Components
UPC-28TF-1 | TFS, Take-off, for flat metal plenum Includes gasket | 1 ea. | 32 |  | 0 |  | 0 | 0
UPC-28TF-6 | TFS, Take-off, for flat metal plenum Includes gasket (6 pcs) | 6 ea. | 164 |  | 0 |  | 0 | 0
UPC-28T-1 | TFS, Take-off, for round metal plenum Includes gasket | 1 ea. | 32 |  | 0 |  | 0 | 0
UPC-28T-6 | TFS, Take-off, for round metal plenum Includes gasket (6 pcs) | 6 ea. | 148 |  | 0 |  | 0 | 0
UPC-38TC-1 | TFS, Coupling, 2" Duct, 1 Couplings, makes 1 connection (2 included connectors make 1 coupling) | 1 ea. | 42 |  | 0 |  | 0 | 0
UPC-38TC-6 | TFS, Coupling, 2" Duct, 6 Couplings, makes 6 connections (12 included connectors make 6 couplings) | 6 ea. | 245 |  | 0 |  | 0 | 0
Sound Attenuator Tubing (12' lengths from R3.3 to R8 available)
UPC-26TC-1 | Sound Attenuator Tubing, 2" ID x 12'L, R-3.3 (12 ft. per box) | 1 ea. | 119 |  | 0 |  | 0 | 0
UPC-26TC-6 | Sound Attenuator Tubing, 2" ID x 12'L, R-3.3 (72 ft. per box) | 6 ea. | 538 |  | 0 |  | 0 | 0
UPC-26TCR4-1 | Sound Attenuator Tubing, 2" ID x 12'L, R-4.2 (12 ft. per box) | 1 ea. | 131 |  | 0 |  | 0 | 0
UPC-26TCR4-6 | Sound Attenuator Tubing, 2" ID x 12'L, R-4.2 (72 ft. per box) | 6 ea. | 582 |  | 0 |  | 0 | 0
UPC-26TCR6-1 | Sound Attenuator Tubing, 2" ID x 12'L, R-6 (12 ft. per box) | 1 ea. | 176 |  | 0 |  | 0 | 0
UPC-26TCR6-6 | Sound Attenuator Tubing, 2" ID x 12'L, R-6.0 (72 ft. per box) | 6 ea. | 846 |  | 0 |  | 0 | 0
UPC-26TCR8-1 | Sound Attenuator Tubing, 2" ID x 12'L, R-8 (12 ft. per box) | 1 ea. | 200 |  | 0 |  | 0 | 0
UPC-26TCR8-6 | Sound Attenuator Tubing, 2" ID x 12'L, R-8.0 (72 ft. per box) | 6 ea. | 983 |  | 0 |  | 0 | 0
Aluminum Core Tubing (25' length from R3.3 to R8 available)
UPC-25T-1 | Supply Tubing, Aluminum, 2" ID x 25'L, R-3.3 (25 ft. per box) | 1 ea. | 194 |  | 0 |  | 0 | 0
UPC-25T-4 | Supply Tubing, Aluminum, 2" ID x 25'L, R-3.3 (100 ft. per box) | 4 ea. | 650 |  | 0 |  | 0 | 0
UPC-25T-R4-1 | Supply Tubing, Aluminum, 2" ID x 25'L, R-4.2 (25 ft. per box) | 1 ea. | 232 |  | 0 |  | 0 | 0
UPC-25T-R4-4 | Supply Tubing, Aluminum, 2" ID x 25'L, R-4.2 (100 ft. per box) | 4 ea. | 860 |  | 0 |  | 0 | 0
UPC-25T-R6-1 | Supply Tubing, Aluminum, 2" ID x 25'L, R-6 (25 ft. per box) | 1 ea. | 282 |  | 0 |  | 0 | 0
UPC-25T-R6-4 | Supply Tubing, Aluminum, 2" ID x 25'L, R-6.0 (100 ft. per box) | 4 ea. | 1055 |  | 0 |  | 0 | 0
UPC-25T-R8-1 | Supply Tubing, Aluminum, 2" ID x 25'L, R-8 (25 ft. per box) | 1 ea. | 313 |  | 0 |  | 0 | 0
UPC-25T-R8-4 | Supply Tubing, Aluminum, 2" ID x 25'L, R-8.0 (100 ft. per box) | 4 ea. | 1164 |  | 0 |  | 0 | 0
UPC-86-5 | Frame-in Kits, 2" | 5 ea. | 153 |  | 0 |  | 0 | 0
2.5" Duct Items
UPC-225-1 | Supply Tubing, Aluminum, 2.5" ID x 25'L, R-3.3 single length | 1 ea. | 219 |  | 0 |  | 0 | 0
UPC-225-3 | Supply Tubing, Aluminum, 2.5" ID x 25'L R-3.3 (75 ft total) | 3 ea. | 577 |  | 0 |  | 0 | 0
UPC-225-R4-3 | Supply Tubing, Aluminum, 2.5" ID x 25'L, R-4.2 (75 ft total) | 3 ea. | 728 |  | 0 |  | 0 | 0
UPC-225-R6-3 | Supply Tubing, Aluminum, 2.5" ID x 25'L, R-6.0 (75 ft total) | 3 ea. | 985 |  | 0 |  | 0 | 0
UPC-225-R8-3 | Supply Tubing, Aluminum, 2.5" ID x 25'L, R-8.0 (75 ft total) | 3 ea. | 1077 |  | 0 |  | 0 | 0
UPC-226-5 | Sound Attenuator Tubing, 2.5" ID x 12'L R-3.3(60 ft total) | 5 ea. | 477 |  | 0 |  | 0 | 0
UPC-226-R4-5 | Sound Attenuator Tubing, 2.5" ID x 12'L, R-4.2 (60 ft total) | 5 ea. | 562 |  | 0 |  | 0 | 0
UPC-226-R6-5 | Sound Attenuator Tubing, 2.5" ID x 12'L, R-6.0 (60 ft total) | 5 ea. | 762 |  | 0 |  | 0 | 0
UPC-226-R8-5 | Sound Attenuator Tubing, 2.5" ID x 12'L, R-8.0 (60 ft total) | 5 ea. | 886 |  | 0 |  | 0 | 0
UPC-280M-1 | Outlet Kit, 2.5", Round Metal Plenum (single outlet) Includes Supply Outlet, 12' R-3.3 Attenuator Tube, Round Metal Plenum Take Off, Winter Shutoff Cap, (2) Scrim Core Clamps (silver), (2) Aluminum Clamps (black), Coupling with Tape Rings, (1) Balancing Orifice Kit | 1 ea. | 210 |  | 0 |  | 0 | 0
UPC-289M-5 | Installation Kit, 2.5", Round Metal Plenum (5 outlets) Includes (5) Supply Outlets, (5) Metal Take Offs, (5) Winter Supply Shutoff Caps, (10) Scrim Core Clamps(silver), (10) Toggles and Screws, (10) Aluminum Core Clamps (black), (1) Balancing Orifice Kit, (5) Couplings with (10) Tape Rings | 5 ea. | 357 |  | 0 |  | 0 | 0
UPC-289MF-5 | Installation Kit, 2.5", Rectangular Metal Plenum (5 outlets) Includes (5) Supply Outlets, (5) Metal Take Offs, (5) Winter Supply Shutoff Caps, (10) Scrim Core Clamps(silver), (10) Toggles and Screws, (10) Aluminum Core Clamps (black), (1) Balancing Orifice Kit, (5) Couplings with (10) Tape Rings | 5 ea. | 357 |  | 0 |  | 0 | 0
UPC-286-5 | Frame-in Kits, 2.5" | 5 ea. | 176 |  | 0 |  | 0 | 0
| Your Total Cost | [6 empty] | 0

## 4 - 5 ton
4 to 5 Tons
Model# | Description | Box Qty | List Price | Order Qty | Extended List Price | ` | Your Cost (each) | Total Extended Cost
| Insert your multiplier in yellow box |  |  |  | 0
Modular Air Handler Unit (Horizontal Applications)
M4860BL2-ST2 | Module, Blower, Standard Control, Single Speed, 208/230V only | 1 ea. | 1961 |  | 0 |  | 0 | 0
M4860BL1-EC2 | Module, Blower, SCB, Variable Speed ECM, 120V/208/230V | 1 ea. | 2805 |  | 0 |  | 0 | 0
M4860CL1-B | Module, Refrigerant Coil (3 Row)* (AC) | 1 ea. | 3536 |  | 0 |  | 0 | 0
M4860V2 | Module, Vertical Plenum (includes 18"x18" Filter & 18"x20" Filter) | 1 ea. | 1888 |  | 0 |  | 0 | 0
Hot Water and Chilled Water Coils and Modules
HW-4860 | Coil, Hot Water (fits M4860CL1-X, M4860V2) | 1 ea. | 1239 |  | 0 |  | 0 | 0
M4860CL1-C | Module, Chilled Water Coil | 1 ea. | 3525 |  | 0 |  | 0 | 0
M4860CL1-H | Module, Heating (with Hot Water Coil) | 1 ea. | 1741 |  | 0 |  | 0 | 0
M4860CL1-X | Module, Heating (without Hot Water Coil) | 1 ea. | 408 |  | 0 |  | 0 | 0
Electric Furnaces
WON0202-C | Furnace, Electric, 2 kW, 1P/240V (matches all models)** | 1 ea. | 904 |  | 0 |  | 0 | 0
WON0502-C | Furnace, Electric, 5 kW, 1P/240V (matches all models)** | 1 ea. | 948 |  | 0 |  | 0 | 0
WON0752-C | Furnace, Electric, 7.5 kW, 1P/240V (matches all models)** | 1 ea. | 1074 |  | 0 |  | 0 | 0
WON1002-C | Furnace, Electric, 10 kW, 1P/240V (matches 2430, 3036, 3642 4860)** | 1 ea. | 1171 |  | 0 |  | 0 | 0
WON1502-C | Furnace, Electric, 15 kW, 1P/240V (matches 2430, 3036, 3642, 4860)** | 1 ea. | 1938 |  | 0 |  | 0 | 0
WON2002-C | Furnace, Electric, 20 kW, 1P/240V (matches 3036, 3642, 4860)** | 1 ea. | 2128 |  | 0 |  | 0 | 0
Indoor Air Quality
UVC1-09 | Module Assy, UV Light - Cabinet Only | 1 ea. | 552 |  | 0 |  | 0 | 0
UVL1-09 | Module Assy, UV Light | 1 ea. | 1350 |  | 0 |  | 0 | 0
A02654-003 | Pleated Filter, 18x20x1, MERV 13 | 1 ea. | 23 |  | 0 |  | 0 | 0
A02654-005 | Pleated Filter, 18x18x1, MERV 13 | 1 ea. | 22 |  | 0 |  | 0 | 0
A02654-006 | Pleated Filter, 24x30x1, MERV 13 | 1 ea. | 30 |  | 0 |  | 0 | 0
A02654-011 | Pleated Filter, 14x38x1, MERV 13 | 1 ea. | 54 |  | 0 |  | 0 | 0
Supply Plenum Accessories
UPC-61-4860 | Adapter, Supply, Round, 10" | 1 ea. | 101 |  | 0 |  | 0 | 0
UPC-62-4860 | Adapter, Supply, Square, 11.5" ID | 1 ea. | 102 |  | 0 |  | 0 | 0
Drain Pans
UPC-24C | Secondary Drain Pan (2 Module 4860) | 1 ea. | 427 |  | 0 |  | 0 | 0
UPC-24D | Secondary Drain Pan (3 Module 4860) | 1 ea. | 479 |  | 0 |  | 0 | 0
Return Air Parts
UPC-01-4860 | Return Air Box with Grille and 24"x30" Filter | 1 ea. | 473 |  | 0 |  | 0 | 0
UPC-04-4860 | Return Air Duct, R-4.2, 20" D x 10 ft. | 1 ea. | 428 |  | 0 |  | 0 | 0
UPC-59-4860 | Return Air Adapter (fits to M4860CL1-B, C or E coil module), for 20" duct | 1 ea. | 236 |  | 0 |  | 0 | 0
UPC-104-4860 | Return Air Adapter (fits to M4860CL1-X or H, M4860V2) for 20" duct | 1 ea. | 300 |  | 0 |  | 0 | 0
M4860R1 | Module, Horizontal Multiple Return Air (Includes 14"x38" Filter) | 1 ea. | 512 |  | 0 |  | 0 | 0
Install Kits for metal duct
UPC-89TM-1 | Install Kit, 2", Round Metal Plenum, TFS, (1 pk) - Includes (1) Supply Outlets, (1) Take Off for round metal plenum, (1) Winter Supply Shutoff Caps, (2) Toggles and Screws, (2) extra TFS Gaskets | 1 ea. | 40 |  | 0 |  | 0 | 0
UPC-89TM-6 | Install Kit, 2", Round Metal Plenum, TFS, (6 pk) - Includes (6) Supply Outlets, (6) Take offs for round metal plenum, (6) Winter Supply Shutoff Caps, (12) Toggles and Screws, (2) extra TFS Gaskets | 6 ea. | 99 |  | 0 |  | 0 | 0
UPC-89TMR6-1 | Install Kit, 2", R6, Round Metal Plenum, TFS, (1 pk) - Includes (1) Supply Outlets, (1) Take Off for round metal plenum, (1) Winter Supply Shutoff Caps, (2) Toggles and Screws, (2) extra TFS Gaskets | 1 ea. | 53 |  | 0 |  | 0 | 0
UPC-89TMR6-6 | Install Kit, 2", R6, Round Metal Plenum, TFS, (6 pk) - Includes (6) Supply Outlets, (6) Take offs for round metal plenum, (6) Winter Supply Shutoff Caps, (12) Toggles and Screws, (2) extra TFS Gaskets | 6 ea. | 255 |  | 0 |  | 0 | 0
UPC-89TMF-1 | Install Kit, 2", Flat Metal Plenum, TFS, (1 pk) - Includes (1) Supply Outlets, (1) Take Off for flat metal plenum, (1) Winter Supply Shutoff Caps, (2) Toggles and Screws, (2) extra TFS Gasket | 1 ea. | 40 |  | 0 |  | 0 | 0
UPC-89TMF-6 | Install Kit, 2", Flat Metal Plenum, TFS, (6 pk) - Includes (6) Supply Outlets, (6) Take offs for flat metal plenum, (6) Winter Supply Shutoff Caps, (12) Toggles and Screws, (2) extra TFS Gaskets | 6 ea. | 99 |  | 0 |  | 0 | 0
UPC-89TMFR6-6 | Install Kit, 2", R6 Flat Metal Plenum, TFS, (6 pk) - Includes (6) Supply Outlets, (6) Take offs for flat metal plenum, (6) Winter Supply Shutoff Caps, (12) Toggles and Screws, (2) extra TFS Gaskets | 6 ea. | 92 |  | 0 |  | 0 | 0
Round Face Plates (outlets)
UPC-56TB-1 | Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only | 1 ea. | 33 |  | 0 |  | 0 | 0
UPC-56TB-6 | Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only (6 pcs) | 6 ea. | 65 |  | 0 |  | 0 | 0
UPC-56TB-BLK-1 | Black Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only | 1 ea. | 34 |  | 0 |  | 0 | 0
UPC-56TB-BLK-6 | Black Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only (6 pcs) | 6 ea. | 68.9987 |  | 0 |  | 0 | 0
UPC-57T-RO-1 | Outlet, TFS, Wood, Red Oak, Face Plate Only | 1 ea. | 60 |  | 0 |  | 0 | 0
UPC-57T-RO-6 | Outlet, TFS, Wood, Red Oak, Face Plate Only (6 pcs) | 6 ea | 331 |  | 0 |  | 0 | 0
Slotted Outlets
UPC-67TA | Outlet Assy, Slot, 90deg, Plastic, White, with mounting bracket TFS | 1 ea. | 170 |  | 0 |  | 0 | 0
UPC-68T | Outlet, Slotted, Straight, plastic, white TFS | 1 ea. | 170 |  | 0 |  | 0 | 0
UPC-101 | Supply Outlet Kit, Slotted, Plastic, White (for plenum duct) | 1 ea. | 73 |  | 0 |  | 0 | 0
UPC-66 | Outlet Assy, Slot, 90deg, Aluminum | 1 ea. | 248 |  | 0 |  | 0 | 0
Round Supply Air & Outlet Components
UPC-28TF-1 | TFS, Take-off, for flat metal plenum Includes gasket | 1 ea. | 32 |  | 0 |  | 0 | 0
UPC-28TF-6 | TFS, Take-off, for flat metal plenum Includes gasket (6 pcs) | 6 ea. | 164 |  | 0 |  | 0 | 0
UPC-28T-1 | TFS, Take-off, for round metal plenum Includes gasket | 1 ea. | 32 |  | 0 |  | 0 | 0
UPC-28T-6 | TFS, Take-off, for round metal plenum Includes gasket (6 pcs) | 6 ea. | 148 |  | 0 |  | 0 | 0
UPC-38TC-1 | TFS, Coupling, 2" Duct, 1 Couplings, makes 1 connection (2 included connectors make 1 coupling) | 1 ea. | 42 |  | 0 |  | 0 | 0
UPC-38TC-6 | TFS, Coupling, 2" Duct, 6 Couplings, makes 6 connections (12 included connectors make 6 couplings) | 6 ea. | 245 |  | 0 |  | 0 | 0
Sound Attenuator Tubing (12' lengths from R3.3 to R8 available)
UPC-26TC-1 | Sound Attenuator Tubing, 2" ID x 12'L, R-3.3 (12 ft. per box) | 1 ea. | 119 |  | 0 |  | 0 | 0
UPC-26TC-6 | Sound Attenuator Tubing, 2" ID x 12'L, R-3.3 (72 ft. per box) | 6 ea. | 538 |  | 0 |  | 0 | 0
UPC-26TCR4-1 | Sound Attenuator Tubing, 2" ID x 12'L, R-4.2 (12 ft. per box) | 1 ea. | 131 |  | 0 |  | 0 | 0
UPC-26TCR4-6 | Sound Attenuator Tubing, 2" ID x 12'L, R-4.2 (72 ft. per box) | 6 ea. | 582 |  | 0 |  | 0 | 0
UPC-26TCR6-1 | Sound Attenuator Tubing, 2" ID x 12'L, R-6 (12 ft. per box) | 1 ea. | 176 |  | 0 |  | 0 | 0
UPC-26TCR6-6 | Sound Attenuator Tubing, 2" ID x 12'L, R-6.0 (72 ft. per box) | 6 ea. | 846 |  | 0 |  | 0 | 0
UPC-26TCR8-1 | Sound Attenuator Tubing, 2" ID x 12'L, R-8 (12 ft. per box) | 1 ea. | 200 |  | 0 |  | 0 | 0
UPC-26TCR8-6 | Sound Attenuator Tubing, 2" ID x 12'L, R-8.0 (72 ft. per box) | 6 ea. | 983 |  | 0 |  | 0 | 0
Aluminum Core Tubing (25' length from R3.3 to R8 available)
UPC-25T-1 | Supply Tubing, Aluminum, 2" ID x 25'L, R-3.3 (25 ft. per box) | 1 ea. | 194 |  | 0 |  | 0 | 0
UPC-25T-4 | Supply Tubing, Aluminum, 2" ID x 25'L, R-3.3 (100 ft. per box) | 4 ea. | 650 |  | 0 |  | 0 | 0
UPC-25T-R4-1 | Supply Tubing, Aluminum, 2" ID x 25'L, R-4.2 (25 ft. per box) | 1 ea. | 232 |  | 0 |  | 0 | 0
UPC-25T-R4-4 | Supply Tubing, Aluminum, 2" ID x 25'L, R-4.2 (100 ft. per box) | 4 ea. | 860 |  | 0 |  | 0 | 0
UPC-25T-R6-1 | Supply Tubing, Aluminum, 2" ID x 25'L, R-6 (25 ft. per box) | 1 ea. | 282 |  | 0 |  | 0 | 0
UPC-25T-R6-4 | Supply Tubing, Aluminum, 2" ID x 25'L, R-6.0 (100 ft. per box) | 4 ea. | 1055 |  | 0 |  | 0 | 0
UPC-25T-R8-1 | Supply Tubing, Aluminum, 2" ID x 25'L, R-8 (25 ft. per box) | 1 ea. | 313 |  | 0 |  | 0 | 0
UPC-25T-R8-4 | Supply Tubing, Aluminum, 2" ID x 25'L, R-8.0 (100 ft. per box) | 4 ea. | 1164 |  | 0 |  | 0 | 0
UPC-86-5 | Frame-in Kits, 2" | 5 ea. | 153 |  | 0 |  | 0 | 0
2.5" Duct Items
UPC-225-1 | Supply Tubing, Aluminum, 2.5" ID x 25'L, R-3.3 single length | 1 ea. | 219 |  | 0 |  | 0 | 0
UPC-225-3 | Supply Tubing, Aluminum, 2.5" ID x 25'L R-3.3 (75 ft total) | 3 ea. | 577 |  | 0 |  | 0 | 0
UPC-225-R4-3 | Supply Tubing, Aluminum, 2.5" ID x 25'L, R-4.2 (75 ft total) | 3 ea. | 728 |  | 0 |  | 0 | 0
UPC-225-R6-3 | Supply Tubing, Aluminum, 2.5" ID x 25'L, R-6.0 (75 ft total) | 3 ea. | 985 |  | 0 |  | 0 | 0
UPC-225-R8-3 | Supply Tubing, Aluminum, 2.5" ID x 25'L, R-8.0 (75 ft total) | 3 ea. | 1077 |  | 0 |  | 0 | 0
UPC-226-5 | Sound Attenuator Tubing, 2.5" ID x 12'L R-3.3(60 ft total) | 5 ea. | 477 |  | 0 |  | 0 | 0
UPC-226-R4-5 | Sound Attenuator Tubing, 2.5" ID x 12'L, R-4.2 (60 ft total) | 5 ea. | 562 |  | 0 |  | 0 | 0
UPC-226-R6-5 | Sound Attenuator Tubing, 2.5" ID x 12'L, R-6.0 (60 ft total) | 5 ea. | 762 |  | 0 |  | 0 | 0
UPC-226-R8-5 | Sound Attenuator Tubing, 2.5" ID x 12'L, R-8.0 (60 ft total) | 5 ea. | 886 |  | 0 |  | 0 | 0
UPC-280M-1 | Outlet Kit, 2.5", Round Metal Plenum (single outlet) Includes Supply Outlet, 12' R-3.3 Attenuator Tube, Round Metal Plenum Take Off, Winter Shutoff Cap, (2) Scrim Core Clamps (silver), (2) Aluminum Clamps (black), Coupling with Tape Rings, (1) Balancing Orifice Kit | 1 ea. | 210 |  | 0 |  | 0 | 0
UPC-289M-5 | Installation Kit, 2.5", Round Metal Plenum (5 outlets) Includes (5) Supply Outlets, (5) Metal Take Offs, (5) Winter Supply Shutoff Caps, (10) Scrim Core Clamps(silver), (10) Toggles and Screws, (10) Aluminum Core Clamps (black), (1) Balancing Orifice Kit, (5) Couplings with (10) Tape Rings | 5 ea. | 357 |  | 0 |  | 0 | 0
UPC-289MF-5 | Installation Kit, 2.5", Rectangular Metal Plenum (5 outlets) Includes (5) Supply Outlets, (5) Metal Take Offs, (5) Winter Supply Shutoff Caps, (10) Scrim Core Clamps(silver), (10) Toggles and Screws, (10) Aluminum Core Clamps (black), (1) Balancing Orifice Kit, (5) Couplings with (10) Tape Rings | 5 ea. | 357 |  | 0 |  | 0 | 0
UPC-286-5 | Frame-in Kits, 2.5" | 5 ea. | 176 |  | 0 |  | 0 | 0
| Your Total Cost | [6 empty] | 0

## Accessories and Tools
Accessories and Tools
Model# | Description | Box Qty | List Price | Order Qty | Extended List Price | Your Cost (each) | Total Extended Cost
| Insert your multiplier in yellow box |  |  |  | 0
Tools
UPC-54 | Pliers, Clamp | 1 ea. | 86 |  | 0 | 0 | 0
Turbometer | Air Velocity meter, TurboMeter® | 1 ea. | 313 |  | 0 | 0 | 0
UPC-45-5 | Deflector, Air, Outlet | 5 ea. | 172 |  | 0 | 0 | 0
UPC-55-5 | Hole Cutter, fiberglass ductboard, 2" ("Cookie-cutter") | 5 ea. | 112 |  | 0 | 0 | 0
UPC-86-5 | Frame-in Kits, 2" | 5 ea. | 153 |  | 0 | 0 | 0
Round Face Plates (outlets)
UPC-56TB-1 | Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only | 1 ea. | 33 |  | 0 | 0 | 0
UPC-56TB-6 | Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only (6 pcs) | 6 ea. | 65 |  | 0 | 0 | 0
UPC-56TB-BLK-1 | Black Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only | 1 ea. | 34 |  | 0 | 0 | 0
UPC-56TB-BLK-6 | Black Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only (6 pcs) | 6 ea. | 68.9987 |  | 0 | 0 | 0
UPC-56TB-BRS-1 | Brass Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only | 1 ea. | 30 |  | 0 | 0 | 0
UPC-56TB-BRS-6 | Brass Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only (6 pcs) | 6 ea. | 137 |  | 0 | 0 | 0
UPC-56TB-CHR-1 | Chrome Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only | 1 ea. | 31 |  | 0 | 0 | 0
UPC-56TB-CHR-6 | Chrome Supply Outlet, TFS, w/Toggles and Screws, Face Plate Only (6 pcs) | 6 ea. | 143 |  | 0 | 0 | 0
Wood Face Plates
UPC-57T-B-1 | Outlet, TFS, Wood, Birch, Face Plate Only | 1 ea. | 87 |  | 0 | 0 | 0
UPC-57T-B-6 | Outlet, TFS, Wood, Birch, Face Plate Only (6 pcs) | 6 ea. | 1584 |  | 0 | 0 | 0
UPC-57T-B-F-1 | Wood Outlet, TFS, Flush Mount, Birch, Face Plate Only | 1 ea. | 96 |  | 0 | 0 | 0
UPC-57T-B-F-6 | Wood Outlet, TFS, Flush Mount, Birch, Face Plate Only (6 pcs) | 6 ea. | 483 |  | 0 | 0 | 0
UPC-57T-C-1 | Outlet, TFS, Wood, Cherry, Face Plate Only | 1 ea. | 78 |  | 0 | 0 | 0
UPC-57T-C-6 | Outlet, TFS, Wood, Cherry, Face Plate Only (6 pcs) | 6 ea. | 427 |  | 0 | 0 | 0
UPC-57T-C-F-1 | Wood Outlet, TFS, Flush Mount, Cherry, Face Plate Only | 1 ea. | 78 |  | 0 | 0 | 0
UPC-57T-C-F-6 | Wood Outlet, TFS, Flush Mount, Cherry, Face Plate Only (6 pcs) | 6 ea. | 427 |  | 0 | 0 | 0
UPC-57T-K-1 | Outlet, TFS, Wood, Knotty Pine, Face Plate Only | 1 ea. | 90 |  | 0 | 0 | 0
UPC-57T-K-6 | Outlet, TFS, Wood, Knotty Pine, Face Plate Only (6 pcs) | 6 ea. | 495 |  | 0 | 0 | 0
UPC-57T-K-F-1 | Wood Outlet, TFS, Flush Mount, Knotty Pine, Face Plate Only | 1 ea. | 96 |  | 0 | 0 | 0
UPC-57T-K-F-6 | Wood Outlet, TFS, Flush Mount, Knotty Pine, Face Plate Only (6 pcs) | 6 ea. | 495 |  | 0 | 0 | 0
UPC-57T-MA-1 | Outlet, TFS, Wood, Maple, Face Plate Only | 1 ea. | 74 |  | 0 | 0 | 0
UPC-57T-MA-6 | Outlet, TFS, Wood, Maple, Face Plate Only (6 pcs) | 6 ea. | 413 |  | 0 | 0 | 0
UPC-57T-MA-F-1 | Wood Outlet, TFS, Flush Mount, Maple, Face Plate Only | 1 ea. | 74 |  | 0 | 0 | 0
UPC-57T-MA-F-6 | Wood Outlet, TFS, Flush Mount, Maple, Face Plate Only (6 pcs) | 6 ea. | 413 |  | 0 | 0 | 0
UPC-57T-MH-1 | Outlet, TFS, Wood, Mahogany, Face Plate Only | 1 ea. | 101 |  | 0 | 0 | 0
UPC-57T-MH-6 | Outlet, TFS, Wood, Mahogany, Face Plate Only (6 pcs) | 6 ea. | 551 |  | 0 | 0 | 0
UPC-57T-MH-F-1 | Wood Outlet, TFS, Flush Mount, Mahogany, Face Plate Only | 1 ea. | 101 |  | 0 | 0 | 0
UPC-57T-MH-F-6 | Wood Outlet, TFS, Flush Mount, Mahogany, Face Plate Only (6 pcs) | 6 ea. | 551 |  | 0 | 0 | 0
UPC-57T-PI-1 | Outlet, TFS, Wood, Pine, Face Plate Only | 1 ea. | 74 |  | 0 | 0 | 0
UPC-57T-PI-6 | Outlet, TFS, Wood, Pine, Face Plate Only (6 pcs) | 6 ea. | 413 |  | 0 | 0 | 0
UPC-57T-PI-F-1 | Wood Outlet, TFS, Flush Mount, Pine, Face Plate Only | 1 ea. | 74 |  | 0 | 0 | 0
UPC-57T-PI-F-6 | Wood Outlet, TFS, Flush Mount, Pine, Face Plate Only (6 pcs) | 6 ea. | 413 |  | 0 | 0 | 0
UPC-57T-PO-1 | Outlet, TFS, Wood, Poplar, Face Plate Only | 1 ea. | 74 |  | 0 | 0 | 0
UPC-57T-PO-6 | Outlet, TFS, Wood, Poplar, Face Plate Only (6 pcs) | 6 ea. | 413 |  | 0 | 0 | 0
UPC-57T-PO-F-1 | Wood Outlet, TFS, Flush Mount, Poplar, Face Plate Only | 1 ea. | 96 |  | 0 | 0 | 0
UPC-57T-PO-F-6 | Wood Outlet, TFS, Flush Mount, Poplar, Face Plate Only (6 pcs) | 6 ea. | 413 |  | 0 | 0 | 0
Wood Face Plates, continued
UPC-57T-RO-1 | Outlet, TFS, Wood, Red Oak, Face Plate Only | 1 ea. | 60 |  | 0 | 0 | 0
UPC-57T-RO-6 | Outlet, TFS, Wood, Red Oak, Face Plate Only (6 pcs) | 6 ea. | 331 |  | 0 | 0 | 0
UPC-57T-RO-F-1 | Wood Outlet, TFS, Flush Mount, Red Oak, Face Plate Only | 1 ea. | 60 |  | 0 | 0 | 0
UPC-57T-RO-F-6 | Wood Outlet, TFS, Flush Mount, Red Oak, Face Plate Only (6 pcs) | 6 ea. | 331 |  | 0 | 0 | 0
UPC-57T-WL-1 | Outlet, TFS, Wood, Walnut, Face Plate Only | 1 ea. | 92 |  | 0 | 0 | 0
UPC-57T-WL-6 | Outlet, TFS, Wood, Walnut, Face Plate Only (6 pcs) | 6 ea. | 511 |  | 0 | 0 | 0
UPC-57T-WL-F-1 | Wood Outlet, TFS, Flush Mount, Walnut, Face Plate Only | 1 ea. | 92 |  | 0 | 0 | 0
UPC-57T-WL-F-6 | Wood Outlet, TFS, Flush Mount, Walnut, Face Plate Only (6 pcs) | 6 ea. | 511 |  | 0 | 0 | 0
UPC-57T-WO-1 | Outlet, TFS, Wood, White Oak, Face Plate Only | 1 ea. | 111 |  | 0 | 0 | 0
UPC-57T-WO-6 | Outlet, TFS, Wood, White Oak, Face Plate Only (6 pcs) | 6 ea. | 606 |  | 0 | 0 | 0
UPC-57T-WO-F-1 | Wood Outlet, TFS, Flush Mount, White Oak, Face Plate Only | 1 ea. | 111 |  | 0 | 0 | 0
UPC-57T-WO-F-6 | Wood Outlet, TFS, Flush Mount, White Oak, Face Plate Only (6 pcs) | 6 ea. | 606 |  | 0 | 0 | 0
UPC-56FR-1 | Supply Outlet, Round, Plastic, White, Fire-Rated 1-hour (UL555C) | 1 ea. | 87 |  | 0 | 0 | 0
UPC-58-1-15 | Supply Outlet, Round, Plastic, 15° Sloped | 1 ea. | 59 |  | 0 | 0 | 0
UPC-58-1-25 | Supply Outlet, Round, Plastic, 25° Sloped | 1 ea. | 43 |  | 0 | 0 | 0
Slotted Outlets
UPC-66 | Supply Outlet Kit, Slotted, 90°, Aluminum, White - Metal Boot | 1 ea. | 248 |  | 0 | 0 | 0
UPC-67TA | Supply Outlet Kit, Slotted, 90°, Plastic, White TFS | 1 ea. | 170 |  | 0 | 0 | 0
UPC-68T | Supply Outlet Kit, Slotted, Straight, Plastic, White TFS | 1 ea. | 170 |  | 0 | 0 | 0
UPC-101 | Supply Outlet Kit, Slotted, Plastic, White (for plenum duct) | 1 ea. | 73 |  | 0 | 0 | 0
Indoor Air Quality
UVC1-09 | Module Assy, UV Light - Cabinet Only | 1 ea. | 552 |  | 0 | 0 | 0
UVL1-09 | Module Assy, UV Light | 1 ea. | 1350 |  | 0 | 0 | 0
A02654-013 | Pleated Filter, 12x16x1, MERV 13 | 1 ea. | 14 |  | 0 | 0 | 0
A02654-001 | Pleated Filter, 14x25x1, MERV 13 | 1 ea. | 21 |  | 0 | 0 | 0
A02654-002 | Pleated Filter, 14x30x1, MERV 13 | 1 ea. | 25 |  | 0 | 0 | 0
A02654-011 | Pleated Filter, 14x38x1, MERV 13 | 1 ea. | 54 |  | 0 | 0 | 0
A02654-005 | Pleated Filter, 18x18x1, MERV 13 | 1 ea. | 22 |  | 0 | 0 | 0
A02654-003 | Pleated Filter, 18x20x1, MERV 13 | 1 ea. | 23 |  | 0 | 0 | 0
A02654-008 | Pleated Filter, 18x22x1, MERV 13 | 1 ea. | 21 |  | 0 | 0 | 0
A02654-004 | Pleated Filter, 18x25x1, MERV 13 | 1 ea. | 23 |  | 0 | 0 | 0
A02654-007 | Pleated Filter, 18x30x1, MERV 13 | 1 ea. | 42 |  | 0 | 0 | 0
A02654-010 | Pleated Filter, 20x14x1, MERV 13 | 1 ea. | 15 |  | 0 | 0 | 0
A02654-012 | Pleated Filter, 20x30x1, MERV 13 | 1 ea. | 25 |  | 0 | 0 | 0
A02654-009 | Pleated Filter, 21x22x1, MERV 13 | 1 ea. | 37 |  | 0 | 0 | 0
A02654-006 | Pleated Filter, 24x30x1, MERV 13 | 1 ea. | 30 |  | 0 | 0 | 0
Electric Furnaces
WON0202-C | Furnace, Electric, 2 kW, 1P/240V (matches all models)** | 1 ea. | 904 |  | 0 | 0 | 0
WON0502-C | Furnace, Electric, 5 kW, 1P/240V (matches all models)** | 1 ea. | 948 |  | 0 | 0 | 0
WON0752-C | Furnace, Electric, 7.5 kW, 1P/240V (matches all models)** | 1 ea. | 1074 |  | 0 | 0 | 0
WON1002-C | Furnace, Electric, 10 kW, 1P/240V (matches 2430, 3036, 3642 4860)** | 1 ea. | 1171 |  | 0 | 0 | 0
WON1004-C | Furnace, Electric, 10 kW, 3P/230V (matches 2430, 3036, 3642, 4860)** | 1 ea. | 1455 |  | 0 | 0 | 0
WON1504-C | Furnace, Electric, 15 kW, 3P/230V (matches 2430, 3036, 3642, 4860)** | 1 ea. | 1955 |  | 0 | 0 | 0
WON1502-C | Furnace, Electric, 15 kW, 1P/240V (matches 2430, 3036, 3642, 4860)** | 1 ea. | 1938 |  | 0 | 0 | 0
WON2002-C | Furnace, Electric, 20 kW, 1P/240V (matches 3036, 3642, 4860)** | 1 ea. | 2128 |  | 0 | 0 | 0
| Your Total Cost | [5 empty] | 0

## Fiberglass Duct
Fiberglass Duct
Model# | Description | Box Qty | List Price | Order Qty | Extended List Price | Your Cost (each) | Total Extended Cost
| Insert your multiplier in yellow box |  |  |  | 0
R-4.2
UPC-12-065S6-4 | Duct, Fiberglass, 6.5" x 6.5" I.D. x 6' long | 4 ea. | 1209 |  | 0 | 0 | 0
UPC-12-065S6-8F | Duct, Fiberglass, 6.5" x 6.5" x 6' long, Flat (unassembled) | 8 ea. | 1042 |  | 0 | 0 | 0
UPC-12-085S6-4 | Duct, Fiberglass, 8.5" x 8.5" x 6' long | 4 ea. | 1227 |  | 0 | 0 | 0
UPC-12-085S6-8F | Duct, Fiberglass, 8.5" x 8.5" x 6' long, Flat (unassembled) | 8 ea. | 1186 |  | 0 | 0 | 0
UPC-12-095S6-4 | Duct, Fiberglass, 9.5" x 9.5" x 6' long | 4 ea. | 1218 |  | 0 | 0 | 0
UPC-15-065S-4 | End Caps, Fiberglass for 6.5" x 6.5" duct | 4 ea. | 48 |  | 0 | 0 | 0
UPC-15-085S-4 | End Caps, Fiberglass for 8.5" x 8.5" duct | 4 ea. | 294 |  | 0 | 0 | 0
UPC-15-095S-4 | End Caps, Fiberglass for 9.5" x 9.5" duct | 4 ea. | 92 |  | 0 | 0 | 0
UPC-16V-065S-1 | Tee, Full Flow, Fiberglass, 6.5" x 6.5" I.D. (w/ Turning Vane) | 1 ea. | 180 |  | 0 | 0 | 0
UPC-16V-065S-4 | Tee, Full Flow, Fiberglass, 6.5" x 6.5" I.D., 4 pack (w/ Turning Vane) | 4 ea. | 1119 |  | 0 | 0 | 0
UPC-16V-085S-1 | Tee, Full Flow, Fiberglass, 8.5" x 8.5" I.D. (w/ Turning Vane) | 1 ea. | 316 |  | 0 | 0 | 0
UPC-16V-085S-4 | Tee, Full Flow, Fiberglass, 8.5" x 8.5" I.D., 4 pack (w/ Turning Vane) | 4 ea. | 605 |  | 0 | 0 | 0
UPC-16V-095S-1 | Tee, Full Flow, Fiberglass, 9.5" x 9.5" I.D. (w/ Turning Vane) | 1 ea. | 335 |  | 0 | 0 | 0
UPC-16V-095S-4 | Tee, Full Flow, Fiberglass, 9.5" x 9.5" I.D., 4 pack (w/ Turning Vane) | 4 ea. | 674 |  | 0 | 0 | 0
UPC-18-065S-1 | Elbow, 90°, Fiberglass, 6.5" x 6.5" I.D. | 1 ea. | 119 |  | 0 | 0 | 0
UPC-18-065S-4 | Elbow, 90°, Fiberglass, 6.5" x 6.5" I.D., 4 pack | 4 ea. | 405 |  | 0 | 0 | 0
UPC-18-085S-1 | Elbow, 90°, Fiberglass, 8.5" x 8.5" I.D | 1 ea. | 121 |  | 0 | 0 | 0
UPC-18-085S-4 | Elbow, 90°, Fiberglass, 8.5" x 8.5" I.D, 4 pack | 4 ea. | 1066 |  | 0 | 0 | 0
UPC-18-095S-1 | Elbow, 90°, Fiberglass, 9.5" x 9.5" I.D. | 1 ea. | 152 |  | 0 | 0 | 0
UPC-18-095S-4 | Elbow, 90°, Fiberglass, 9.5" x 9.5" I.D., 4 pack | 4 ea. | 1085 |  | 0 | 0 | 0
UPC-29-8565S-1 | Reducer, Fiberglass, 8.5" sq. x 6.5" sq. | 1 ea. | 573 |  | 0 | 0 | 0
UPC-29-9565S-1 | Reducer, Fiberglass, 9.5" sq. x 6.5" sq. | 1 ea. | 574 |  | 0 | 0 | 0
UPC-29-9585S-1 | Reducer, Fiberglass, 9.5" sq. x 8.5" sq. | 1 ea. | 110 |  | 0 | 0 | 0
R-6.0
UPC-12-065R6-4 | Duct, Fiberglass, 6.5" x 6.5" I.D. x 6' long | 4 ea. | 1308 |  | 0 | 0 | 0
UPC-12-085R6-4 | Duct, Fiberglass, 8.5" x 8.5" x 6' long | 4 ea. | 1416 |  | 0 | 0 | 0
UPC-15-065R6-4 | End Caps, Fiberglass for 6.5" x 6.5" duct | 4 ea. | 294 |  | 0 | 0 | 0
UPC-15-085R6-4 | End Caps, Fiberglass for 8.5" x 8.5" duct | 4 ea. | 301 |  | 0 | 0 | 0
UPC-15-095R6-4 | End Caps, Fiberglass for 9.5" x 9.5" duct | 4 ea. | 410 |  | 0 | 0 | 0
UPC-16V-065R6-4 | Tee, Full Flow, Fiberglass, 6.5" x 6.5" I.D., 4 pack (w/ Turning Vane) | 4 ea. | 572 |  | 0 | 0 | 0
UPC-16V-085R6-4 | Tee, Full Flow, Fiberglass, 8.5" x 8.5" I.D., 4 pack (w/ Turning Vane) | 4 ea. | 1286 |  | 0 | 0 | 0
UPC-16V-095R6-4 | Tee, Full Flow, Fiberglass, 9.5" x 9.5" I.D., 4 pack (w/ Turning Vane) | 4 ea. | 866 |  | 0 | 0 | 0
UPC-18-065R6-4 | Elbow, 90°, Fiberglass, 6.5" x 6.5" I.D, 4 pack | 4 ea. | 1050 |  | 0 | 0 | 0
UPC-18-085R6-4 | Elbow, 90°, Fiberglass, 8.5" x 8.5" I.D, 4 pack | 4 ea. | 1119 |  | 0 | 0 | 0
UPC-18-095R6-4 | Elbow, 90°, Fiberglass, 9.5" x 9.5" I.D, 4 pack | 4 ea. | 608 |  | 0 | 0 | 0
UPC-29-8565R6-1 | Reducer, Fiberglass, 8.5" sq. x 6.5" sq. | 1 ea. | 582 |  | 0 | 0 | 0
UPC-29-9565R6-1 | Reducer, Fiberglass, 9.5" sq. x 6.5" sq. | 1 ea. | 164 |  | 0 | 0 | 0
UPC-29-9585R6-1 | Reducer, Fiberglass, 9.5" sq. x 8.5" sq. | 1 ea. | 164 |  | 0 | 0 | 0
| Your Total Cost | [5 empty] | 0

## Sheet Metal Plenum
Sheet Metal Plenum
Model# | Description | Box Qty | List Price | Order Qty | Extended List Price | Your Cost (each) | Total Extended Cost
| Insert your multiplier in yellow box |  |  |  | 0
7" Sheet Metal Plenum
USM-01 | Duct,Galv,7Dx5'x28GA (1 piece) | 1 ea. | 30 |  | 0 | 0 | 0
USM-03 | Elbow,Galv,7Dx28 GA. (1 piece) | 1 ea. | 15 |  | 0 | 0 | 0
USM-05 | End Cap,Galv,Uncrmp,7" I.D. (1 piece) | 1 ea. | 28 |  | 0 | 0 | 0
USM-07 | Tee,Galv,7Dx28GA (1 piece) | 1 ea. | 95 |  | 0 | 0 | 0
USM-10 | Insul,Sleeve,Silver,7Dx5'x2" R6 (1 piece) | 1 ea. | 50 |  | 0 | 0 | 0
USM-10-R8 | Insul,Sleeve,Silver,7Dx5'x2" R8 (1 piece) | 1 ea. | 64 |  | 0 | 0 | 0
USM-12 | Reducer,Galv,9x7x28GA (1 piece) | 1 ea. | 12 |  | 0 | 0 | 0
9" Sheet Metal Plenum
USM-02 | Duct,Galv,9Dx5'x28GA (1 piece) | 1 ea. | 70 |  | 0 | 0 | 0
USM-04 | Elbow,Galv,9Dx28GA. (1 piece) | 1 ea. | 23 |  | 0 | 0 | 0
USM-06 | End Cap,Galv,Uncrmp,9" I.D. (1 piece) | 1 ea. | 32 |  | 0 | 0 | 0
USM-08 | Tee,Galv,9Dx28GA (1 piece) | 1 ea. | 75 |  | 0 | 0 | 0
USM-09 | Tee,Reducer,Galv, 9x7x7x28GA (1 piece) | 1 ea. | 59 |  | 0 | 0 | 0
USM-11 | Insul,Sleeve,Silver,9Dx5'x2" R6 (1 piece) | 1 ea. | 46 |  | 0 | 0 | 0
USM-11-R8 | Insul,Sleeve,Silver,9Dx5'x2" R8 (1 piece) | 1 ea. | 51 |  | 0 | 0 | 0
10" Sheet Metal Plenum
USM-13 | Duct,Galv,10Dx5'x28GA (1 piece) | 1 ea. | 42 |  | 0 | 0 | 0
USM-14 | Elbow,Galv, 10" (1 piece) | 1 ea. | 19 |  | 0 | 0 | 0
USM-15 | Tee,Galv, 10" (1 piece) | 1 ea. | 85 |  | 0 | 0 | 0
USM-16 | Insul,Sleeve,Silver, 10Dx5'x2" R6 (1 piece) | 1 ea. | 45 |  | 0 | 0 | 0
USM-16-R8 | Insul,Sleeve,Silver, 10Dx5'x2" R8 (1 piece) | 1 ea. | 76 |  | 0 | 0 | 0
USM-18 | End Cap,Galv, Galv, 10" (1 piece) | 1 ea. | 13 |  | 0 | 0 | 0
USM-19 | Tee,Galv, Reducer, 10 X 9 X 9" (1 piece) | 1 ea. | 38 |  | 0 | 0 | 0
| Your Total Cost | [5 empty] | 0

## Chiltrix by Unico™
Chiltrix by Unico™
Model# | Description | Box Qty | List Price | Order Qty | Extended List Price | Your Cost (each) | Total Extended Cost
| Insert your multiplier in yellow box |  |  |  | 0
Chiltrix Air-to-water Heat Pump and other
CX35 | Chiltrix, Outdoor Unit, 2T Cooling Unit/2.7 Ton Heating w/pump | 1 ea. | 9352 |  | 0 | 0 | 0
CX50 | Chiltrix Outdoor Unit, CX50 Air-To-Water Heat Pump 3.5 Tons Cooling / 4.75 Tons Heating w/pump | 1 ea. | 13083 |  | 0 | 0 | 0
DN25 | Chiltrix Motorized 3 way valve DN32/G1/G3 (used for DHW with the cx35) | 1 ea. | 343 |  | 0 | 0 | 0
DN32 | Chiltrix Motorized 3 way valve DN25/G1/G3 (used for DHW with the cx50) | 1 ea. | 453 |  | 0 | 0 | 0
DHW40 | Chiltrix All-Stainless Steel w/ Duplex 2205 Inner Tank / 304 Outer Tank Enclosure, 40 gallons | 1 ea. | 2598 |  | 0 | 0 | 0
DHW80 | Chiltrix All-Stainless Steel w/ Duplex 2205 Inner Tank / 304 Outer Tank Enclosure, 80 gallons | 1 ea. | 3393 |  | 0 | 0 | 0
VCT19 | Chiltrix 304 SS Multi-Purpose Water Tank - 19 Gallons | 1 ea. | 1586 |  | 0 | 0 | 0
VCT37C | Chiltrix 304 SS Multi-Purpose Water Tank - 37 Gallons | 1 ea. | 2767 |  | 0 | 0 | 0
VCT60 | Chiltrix 304 SS Multi-Purpose Water Tank - 58 gallons | 1 ea. | 3292 |  | 0 | 0 | 0
CXI34 | Chiltrix, Universal Indoor Unit, DC Inverter Fan Coil Unit (3Kbtu) | 1 ea. | 1113 |  | 0 | 0 | 0
CXI65 | Chiltrix Universal Indoor Unit, DC Inverter Fan Coil Unit (6kbtu) | 1 ea. | 1230 |  | 0 | 0 | 0
CXI85 | Chiltrix Universal Indoor Unit, DC Inverter Fan Coil Unit (8kbtu) | 1 ea. | 1342 |  | 0 | 0 | 0
CXI120 | Chiltrix Universal Indoor Unit, DC Inverter Fan Coil Unit (11kbtu) | 1 ea. | 1841 |  | 0 | 0 | 0
V18B | Chiltrix Variable Backup Heater | 1 ea. | 705 |  | 0 | 0 | 0
| Your Total Cost | [5 empty] | 0